## Slide 1: FOR ONLINE PUBLICATION ONLY

## Slide 2
Chart i: Patient reported usability: mean, median and interquartile range (IQR) of responses for each question of the “mHealth App Usability Questionnaire (MUAQ) for Standalone mHealth Apps Used by Healthcare Patients”.

## Slide 3
Chart ii: Clinician reported usability proportion of responses for each question of the “mHealth App Usability Questionnaire (MUAQ) for Standalone mHealth Apps Used by Healthcare Providers”.

## Slide 4
Chart: Bland-Altman Plot - 500Hz
Average | 1.1275 | 1.1275
Lower | -9.4569 | -9.4569
Upper | 11.7118 | 11.7118
-10 | -10 | -10
10 | 10 | 10
Chart iii: Bland-Altman plot and agreement limit – 500Hz and KEY

## Slide 5
Chart iv: Bland-Altman plot and agreement limit – 1kHz
Chart: Bland-Altman Plot - 1kHz
Average Difference | 0.78431 | 0.78431
Lower CI | -11.6076 | -11.6076
Upper CI | 13.1762 | 13.1762
-10 | -10 | -10
10 | 10 | 10

## Slide 6
Chart: Bland-Altman Plot - 2kHz
Average difference | 0.98039 | 0.98039
Upper limit | 11.3039 | 11.3039
Lower limit | -9.3431 | -9.3431
-10 | -10 | -10
10 | 10 | 10
Chart v: Bland-Altman plot and agreement limit – 2kHz

## Slide 7
Chart vi: Bland-Altman plot and agreement limit – 4kHz
Chart: Bland-Altman Plot - 4kHz
Upper limit | -12.386 | -12.386
Lower | 11.6997 | 11.6997
-10 | -10 | -10
10 | 10 | 10
Mean | -0.34314 | -0.34314

## Slide 8
Chart vii: Bland-Altman plot and agreement limit – 8kHz
Chart: Bland-Altman Plot - 8kHz
Lower | -32.7654 | -32.7654
Upper | 18.0129 | 18.0129
-10 | -10 | -10
10 | 10 | 10
Mean | -7.3762 | -7.3762