Supplementary Table 1- Comparing ECG parameters measured by automated device software and manual values

|  |  |  |  |
| --- | --- | --- | --- |
|  | Automated measurementn = 12365 | Manual measurementn = 12365 | P value\* |
|  Heart rate, bpm | 91.8 ± 17.1 | 90.9 ± 15.5 | <0.001 |
|  PR interval, ms | 98.1 ± 15.4 | 125.9 ± 18.9 | <0.001 |
|  QRS complex, ms | 82.5 ± 13 | 78.9 ± 12.3 | <0.001 |
|  QTc, ms | 420.6 ± 25.4 | 398.9 ± 31 | <0.001 |

\* Analysis has been done by the paired samples t-test