**Supplementary Material**



**Supplementary Figure 1:** Gluten analysis of the calibration curve, as supplied by the kit manufacturer, were performed in 7 different occasions using the RidaScreen gliadin method and absorbances were measured. The graph shows the average absorbance and average R2 was determined to be 0.9994, with a range of 0.9969 – 0.9997.