Geological Magazine

Provenance and rift basin architecture of the Neoproterozoic Hedmark Basin, South Norway: inferred from U-Pb ages and Lu-Hf isotopes of conglomerate clasts and detrital zircons. Jarkko Lamminen, Tom Andersen & Johan Petter Nystuen.

Supplementary Material

Analytical methods

Conglomerate clasts were cleaned of any remnant matrix material with a diamond saw. All samples were crushed in a jaw crusher and milled into fine powder in a swing mill. The powder was washed gently on a Wilfley table to remove fine material, and heavy minerals were separated with heavy liquid. For granitoid clast samples, the separation was followed by multistage Franz magnetic separation, usually yielding apatite-zircon residue from which only the largest and cleanest zircons were handpicked. Large zircons (>100 μm) are more likely to resist lead-loss events and facilitate better ablation. Franz separation was not used for the sandstone samples in order to avoid possible biasing by removing slightly magnetic zircon grains (Sircombe & Stern, 2002). Sample sizes were variable, but despite this some small samples were rich in zircons and some very large samples were extremely poor in zircons. One sample contained practically no zircons and was therefore not dateable. This indicates variable zircon saturation in the source area granitoids (Moecher & Samson, 2006), another biasing factor. Zircons were mounted deeply into epoxy and a small window exposed by polishing in order to facilitate maximum ablation times. Before analysis, all grains were imaged by BSE/CL in a scanning electron microscope to detect inherited cores and metamorphically disturbed zones.

U-Pb

For the samples in this study, U-Pb dating and isotope analysis were performed using a Nu Plasma HR multicollector ICPMS and a New Wave/Merchantek LUV-213 laser microprobe at the Department of Geosciences, University of Oslo.

U-Pb analyses were made according to analytical protocols described by Rosa et al. (2009). A single U-Pb measurement included 30 s of on-mass background measurement, followed by 60 s of ablation with a stationary beam. Laser conditions for U-Pb analysis were: beam diameter: 40 μm; pulse frequency: 10 Hz; beam energy density: c. 0.06 J/cm2. Masses 204, 206 and 207 were measured in secondary electron multipliers, and 238 in the extra high mass Faraday collector of the Nu Plasma U-Pb collector block. 235U was calculated from the signal at mass 238 using a natural 238U/235U=137.88. Mass number 204 was used as a monitor for common 204Pb. Analyses which yielded peak/background ratios at mass 204 of less than 1 + 3RSDB (where RSDB is the observed relative standard deviation of the on-peak background measurement), were considered to have common lead below the detection limit.

The data were regressed using mainly two (occasionally up to four) calibration standards. Standard zircons used for calibration were: 91500 (1065 ± 1 Ma; Wiedenbeck et al., 1995), GJ-01 (609 ± 1 Ma; Jackson et al., 2004), Plešovice (337 ± 0.4 Ma; Sláma et al., 2008), Temora 2 (Woodhead & Hergt, 2005), and an in-house Palaeoproterozoic standard A382, which is a zircon separated from a hypersthene granite from Voinsalmi, Finland, and has an average age of 1877 ± 2 Ma by isotope dilution (ID)-TIMS U-Pb (H. Huhma, pers. comm.). The calculations were done off-line, using an in-house interactive Microsoft Excel spreadsheet program. The estimated uncertainties in isotope ratios incorporate error terms from counting statistics on signals and backgrounds for the relevant masses measured on standards and unknowns, the standard error of the regression line determined from standards, and the published uncertainty of the calibration standards. The terms have been propagated through, using standard error propagation algorithms (e.g. Taylor, 1997).

IsoplotEx 3.34 (Ludwig, 2003) was used to plot concordia diagrams and for calculating the concordia ages (Ludwig, 1998) and weighted averages. Additional runs of zircon standards 91500 and Plešovice were used in each analytical session to monitor the accuracy of the method. Outlier calibration standard analyses were rejected when the monitoring standards did not come acceptable. In each session the monitoring standard is not more than c. 5 m.y. off from published value.

Lu-Hf

The Lu-Hf protocol follows Heinonen, Andersen & Rämö (2010). For Lu-Hf isotope analysis of zircon, masses from 172 to 179 were measured. The isobaric interferences on 176Hf by 176Lu and 176Yb were corrected by an empirical procedure (cf. Andersen, Graham & Sylvester, 2009; Heinonen, Andersen & Rämö, 2010). A value for the decay constant of 176Lu of 1.867 x 10-11 year-1 has been used in all calculations (Söderlund et al., 2004; Scherer, Münker & Mezger 2001; Scherer, Whitehouse & Münker, 2007). We have adopted the depleted mantle model of Griffin et al. (2000) and CHUR model of Bouvier, Vervoort & Patchett (2008). Reference zircon Mud Tank (Black & Gulson, 1978; Griffin et al., 2004; Woodhead & Hergt, 2005) and Temora-2 (Black et al., 2004) were used as standards. Laser settings used were: c.50% power, 55μm spot size and 5Hz repetition rate.

References

Andersen, T., Graham, S. & Sylvester, A.G. 2009. The geochemistry, Lu–Hf isotope systematics, and petrogenesis of late Mesoproterozoic a-type granites in southwestern Fennoscandia. The Canadian Mineralogist 47, 1399–1422.

Black, L.P. & Gulson, B.L. 1978. The age of the Mud Tank carbonatite, Strangways Range, Northern Territory. Journal of Australian Geology and Geophysics 3, 227–232.

Black, L.P., Kamo, S.L., Allen, C.M., Davis, D.W., Aleinikoff, J.N., Valley, J.W., Mundil, R., Campbell, I.H., Korsch, R.J., Williams, I.S. & Foudoulis, C. 2004. Improved 206Pb/238U microprobe geochronology by the monitoring of a trace-element-related matrix effect; SHRIMP, ID–TIMS, ELA–ICP–MS and oxygen isotope documentation for a series of zircon standards. Chemical Geology 205, 115–140.

Bouvier, A., Vervoort, J.D. & Patchett, P.J. 2008. The Lu–Hf and Sm–Nd isotopic composition of CHUR: constraints from unequilibrated chondrites and implications for the bulk composition of terrestrial planets. Earth and Planetary Science Letters 273, 48–57.

Griffin, W.L., Pearson, N.J., Belousova, E., Jackson, S.E., van Achterbergh, E., O’Reilly, S.Y. & Shee, S.R. 2000. The Hf isotope composition of cratonic mantle: LAM-MC-ICPMS analysis of zircon megacrysts in kimberlites. Geochimica et Cosmochimica Acta 64, 133–147.

Griffin, W.L., Belousova, E.A., Shee, S.R., Pearson, N.J. & O’Reilly, S.Y. 2004. Archean crustal evolution in the northern Yilgarn Craton: U–Pb and Hf-isotope evidence from detrital zircons. Precambrian Research 131, 231–282.

Heinonen, A.P., Andersen, T. & Rämö, O.T. 2010. Re-evaluation of rapakivi petrogenesis: Source constraints from the Hf isotope composition of zircon in the rapakivi granites and associated mafic rocks of southern Finland. Journal of Petrology 51, 1687–1709.

Jackson, S.E., Pearson, N.J., Griffin, W.L. & Belousova, E.A. 2004. The application of laser ablation-inductively coupled plasma-mass spectrometry to in situ U–Pb zircon geochronology. Chemical Geology 211, 47–69.

Ludwig, K.R. 1998. On the treatment of concordant uranium–lead ages. Geochimica et Cosmochima Acta 62, 665–676.

Ludwig, K.R. 2003. Isoplot 3.00. Berkeley Geochronology Center Special Publication 4, 70 pp.

Moecher, D.P. & Samson, S.D. 2006. Differential zircon fertility of source terranes and natural bias in the detrital zircon record: Implications for sedimentary provenance analysis. Earth and Planetary Science Letters 247, 252–266.

Rosa, D.R.N., Finch, A.A., Andersen, T. & Inverno, C.M.C. 2009. U–Pb geochronology and Hf isotope ratios of magmatic zircons from the Iberian Pyrite Belt. Mineralogy and Petrology 95, 47–69.

Scherer, E., Münker, C. & Mezger, K. 2001. Calibration of the Lutetium-Hafnium Clock. Science 293, 683–687.

Scherer, E.E., Whitehouse, M.J. & Münker, C. 2007. Zircon as a monitor of crustal growth. Elements 3, 19–24.

Sircombe, K.N. & Stern, R.A. 2002. An investigation of artificial biasing in detrital zircon U–Pb geochronology due to magnetic separation in sample preparation, Geochimica et Cosmoschimica Acta 66, 2379–2397.

Sláma, J., Košler, J., Condon, D.J., Crowley, J.L., Gerdes, A., Hanchar, J.M., Horstwood, M.S.A., Morris, G.A., Nasdala, L., Norberg, N., Schaltegger, U., Schoene, B., Tubrett, M.N. & Whitehouse, M.J. 2008. Plešovice zircon — A new natural reference material for U–Pb and Hf isotopic microanalysis. Chemical Geology 249, 1–35.

Söderlund, U., Patchett, P.J., Vervoort, J.D. & Isachsen, C.E. 2004. The 176Lu decay constant determined by Lu-Hf and U-Pb isotope systematics of Precambrian mafic intrusions. Earth and Planetary Science Letters 219, 311–324.

Taylor, J.R. 1997. An introduction to error analysis. University Science Books.

Wiedenbeck, M., Alle, P., Corfu, F., Griffin, W.L., Meier, M., Oberli, F., von Quadt, A., Roddick, J.C. & Spiegel, W. 1995. Three natural zircon standards for U-Th-Pb, Lu-Hf, trace element and REE analyses. Geostandards Newsletter 19, 1–23.

Woodhead, J.D. & Hergt, J.M. 2005. A preliminary appraisal of seven natural zircon reference materials for in situ Hf isotope determination. Geostandards and Geoanalytical Research 29, 183–195.