GEOLOGICAL MAGAZINE

Discovery of a Neoproterozoic granite in the Northern Alxa region, NW China – its age, petrogenesis and tectonic significance

WEN ZHANG, VICTORIA PEASE, QINGPENG MENG, RONGGUO ZHENG, TONNY B. THOMSEN, CORA WOHLGEMUTH-UEBERWASSER, TAIRAN WU

# Supplementary Material 1

# Appendix S1. Analytical methods

## S1.a. Whole-rock geochemical analyses

X-Ray Fluorescence (XRF). The major elements and four trace elements (Ba, Ga, Rb and Sr) were analyzed by XRF at the Petrotectonics Analytical Facility, Department of Geological Sciences, Stockholm University. Rock powder was weighed into ceramic crucibles then roasted at 105 °C for 12 hours and subsequently at 1000 °C for a further 12 hours to calculate loss on ignition (LOI). The roasted powder was reground with an agate mortar and pestle, weighed and fused with a flux. 2 g of the powder was mixed with 5 g of 66 % lithium tetraborate: 34 % lithium metaborate flux, weighed to a precision of ±0.0002 g, then fused in platinum for 10 minutes at 1100 °C using a Phoenix VFD automated fusion machine. This produces a homogeneous 32 mm glass bead with a lower surface that is of sufficient quality to be analyzed directly without further polishing. The automated fusion machine allows an identical fusion routine to be used for all standards and samples thereby eliminating any potential errors generated by subtle differences introduced during preparation. The fused glass beads are measured by comparison of X-ray intensity for each element with calibration lines generated from 24 international standards of known concentrations. Operating conditions are unremarkable and comparable to other facilities (e.g. Johnson et al. 1999). As an internal monitor of quality, two standards (USGS standards AGV 2 and RGM 1) covering the compositional range were analyzed as an unknown every 6th sample.

Laser Ablation Inductively Coupled Plasma Mass Spectrometry (LA-ICP-MS). After XRF analysis, representative samples were selected for further analyses. The glass disks were drilled using diamond bits, rinsed with deionized water, mounted in epoxy casts and polished for trace element analysis. Laser ablation inductively coupled plasma mass spectrometry (LA-ICP-MS) was performed at the Petrotectonics Analytical Facility, Department of Geological Sciences, Stockholm University, utilizing an UP-213 frequency-quintupled solid state Nd:YAG laser system from ESI/New Wave Research coupled to a Thermo-Scientific Xseries-2 quadrupole ICP-MS. To ensure robust plasma conditions, fractionation effects from incomplete ionization were minimized by tuning the ICP-MS on NIST SRM-610 for maximum signal-to-noise ratios across the entire mass range of interest (i.e. from 29Si to 238U) while optimizing for low element-oxide production levels (monitored by 156CeO/140Ce and 248ThO/232Th ratios). To correct for the effects of instrumental mass bias and drift, a standard-sample-standard procedure (following Longerich et al. 1996) was used, bracketing a maximum of 16 analyses by 8 measurements of the NIST SRM 612 glass standard, viz. 4 before and 4 after the sample analysis. To control the accuracy the analysis NIST SRM 612 as an “unknown” was analyzed during the analytical session. Prior to loading, samples and standard were carefully cleaned with ethanol to remove surface contamination. After insertion, the ablation cell was purged with the carrier gas for 15 minutes to minimize gas blank level. To ensure stable laser output energy, a laser warm-up time of 15 minutes was applied prior to operation. Data were acquired from single spot analysis of 80 μm in diameter, using nominal laser fluency of 10-12 J/cm2 and a pulse rate of 10 Hz. The same beam size was used for the standard and sample analyses to avoid fractionation resulting from the use of different laser beam diameters. Total acquisition time for single analysis was ≤ 2 minutes, including a 50 seconds’ gas blank measurement followed by laser ablation for 30 seconds. Data reduction and determination of ratios and elemental concentrations were calculated off-line using the public domain software Iolite (Hellstrom et al. 2008; Paton et al. 2010).

## S1.b. Nd and Sr isotopic analyses

Analyses for Sr and Nd isotopes and Sm, Nd, Rb, and Sr concentrations were performed at the Laboratory for Isotope Geology, Swedish Museum of Natural History. Sm and Nd analyses were performed on a Thermo Scientific TRITON Thermal Ionization Mass Spectrometry (TIMS) using the total spike method with a mixed 149Sm/150Nd spike. Concentrations and ratios were reduced assuming exponential fractionation. Samarium concentrations were determined in multicollector static mode on rhenium double filaments. Samarium ratios were normalized to 147Sm/152Sm = 0.560667. Neodymium was run in static mode on double rhenium filaments using rotating gain compensation. Calculated ratios were normalized to 146Nd/144Nd = 0.7219. The external precision for 143Nd/144Nd as judged from values for La Jolla standard was 9.0 ppm. Accuracy correction was not necessary since the mean 143Nd/144Nd ratio was 0.5118484±46 (n=32).

An aliquot of each sample was spiked for Rb and Sr. For Sr determination, an 84Sr enriched spike was added and after ion exchange analyzed on a Thermo Scientific TRITON TIMS using a load of purified sample mixed with tantalum activator on a single rhenium filament. Two/one hundred 8 seconds’ integrations were recorded in multicollector static mode, applying rotating gain compensation. Measured 87Sr intensities were corrected for Rb interference assuming 87Rb/85Rb = 0.38600 and ratios were reduced using the exponential fractionation law and 88Sr/86Sr = 8.375209. The external precision for 87Sr/86Sr as judged from running 987 standard was 8 ppm (n=12) , while repeated measurements of prepared CIT #39 sea water gave a reproducibility of ±0.0000083 or 12 ppm (n=14), which is taken to be the best estimate of the external precision. An accuracy correction made as the 87Sr/86Sr ratio for the NBS 987 standard was 0.710217±06 (n=12). For Rb determination, the same aliquot was spiked with an 87Rb enriched spike. After ion exchange purification a fraction of the sample was dissolved in water and loaded on a tantalum double filament and analyzed on a MAT261 TIMS. Eighty 8 sec. integrations were recorded in multicollector static mode. Measuring a Rb-standard determined the average fractionation to 0.39 %/AMU, which was the correction applied to the samples.

## S1.c. U-Pb zircon geochronology

Hand-picked zircon grains were mounted in a 25 mm diameter epoxy puck and polished to reveal a cross section. Cathodoluminescence (CL) and scanning electron images were made using a Hitachi S4300 Scanning Electron Microscope (SEM) fitted with a Gatan mini-CL detector in the Swedish Museum of Natural History.

LA-ICP-MS. Zircons were analyzed for U, Th and Pb isotopes by LA-ICP-MS using a New Wave NWR-193 excimer laser coupled to a Thermo Xseries2 quadrupole ICP-MS at the Petrotectonics Analytical Facility, Department of Geological Sciences, Stockholm University. Each analysis consisted of 30 seconds’ background acquisition followed by 40 seconds’ data acquisition and 15 seconds’ wash-out using a 20 µm spot size. Analytical conditions included a laser pulse frequency of 10 Hz and a laser energy density of 8.5 J/cm2. The signal was tuned for maximum sensitivity for Pb and U while keeping the ThO/Th ratio below 0.5 %. External standardization was performed using Plešovice zircon (Sláma et al. 2008), analyzed at the start and end of the analytical sequence and bracketing a maximum of 10 analyses by two measurements of standard zircon (Plešovice). Data reduction and calculation of ratios and ages were performed off-line through the software Iolite (Hellstrom et al. 2008; Paton et al. 2011), using the Iolite-integral VizualAge DRS (data reduction scheme) routine of Petrus and Kamber (2012). The Iolite includes a correction routine for down-hole isotopic fractionation (Paton et al. 2010) and also provides routines for data that may require correction for common Pb, calculated through measured mass 204 (204Pb + 204Hg) or the approach described in Andersen (2002).

References

Andersen, T. 2002. Correction of common lead in U-Pb analyses that do not report 204Pb. Chemical Geology 192, 59-79.

Hellstrom, J., Paton, C., Woodhead, J. & Hergt, J. 2008. Iolite: software for spatially resolved LA-(quad and MC) ICPMS analysis. Mineralogical association of Canada short course series 40, 343-348.

Johnson, D., Hooper, P. & Conrey, R. 1999. XRF analysis of rocks and minerals for major and trace elements on a single low dilution Li-tetraborate fused bead. Advances in X-ray Analysis 41, 843-867.

Longerich, H.P., Jackson, S.E. & Günther, D. 1996. Inter-laboratory note. Laser ablation inductively coupled plasma mass spectrometric transient signal data acquisition and analyte concentration calculation. Journal of Analytical Atomic Spectrometry 11, 899-904.

Paton, C., Woodhead, J.D., Hellstrom, J.C., Hergt, J.M., Greig, A. & Maas, R. 2010. Improved laser ablation U-Pb zircon geochronology through robust downhole fractionation correction. Geochemistry Geophysics Geosystems 11, Q0AA06.

Paton, C., Hellstrom, J., Paul, B., Woodhead, J. & Hergt, J. 2011. Iolite: Freeware for the visualisation and processing of mass spectrometric data. Journal of Analytical Atomic Spectrometry 26, 2508-2518.

Petrus, J.A. & Kamber, B.S. 2012. VizualAge: A Novel Approach to Laser Ablation ICP-MS U-Pb Geochronology Data Reduction. Geostandards and Geoanalytical Research 36, 247-270.

Sláma, J., Košler, J., Condon, D.J., Crowley, J.L., Gerdes, A., Hanchar, J.M., Horstwood, M.S.A., Morris, G.A., Nasdala, L. & Norberg, N. 2008. Plešovice zircon—a new natural reference material for U-Pb and Hf isotopic microanalysis. Chemical Geology 249, 1-35.