Geological Magazine

Dating of ultramafic rocks from the Western Alps ophiolites discloses late Cretaceous subduction ages in the Zermatt-Saas Zone

Gisella Rebay, Davide Zanoni, Antonio Langone, Pietro Luoni, Massimo Tiepolo and Maria Iole Spalla

Supplementary Material 1 – SM1

Appendix 1. Trace Elements Acquisition methods

Selected masses were acquired in peak hopping mode and each analysis consisted in the acquisition of 1minute of background and 1minute of ablation signal. Further details on the analytical method have been reported by Tiepolo et al. (2003). The laser was operated at 10Hz with a pulse energy on the sample of 0.01-0.03 mJ. The spot size was set to 20m and 50 m for zircon and clinopyroxene respectively. Data reduction was performed with the ‘GLITTER’ software package (van Achtenbergh et al., 2001) using NIST SRM 612 as the external standard and 44Ca and 29Si as the internal standard for clinopyroxene and zircon, respectively. Precision and accuracy, assessed during each analytical run on the BCR-2 USGS reference glass, are better than 6% relative.

Additional references

Tiepolo, M., Bottazzi, P., Palenzona, M. & Vannucci, R. 2003. A laser probe coupled with ICP – double-focusing sector-field mass spectrometer for in situ analysis of geological samples and U/Pb dating of zircon. The Canadian Mineralogist 41, 259–72.

Geological Magazine

Dating of ultramafic rocks from the Western Alps ophiolites discloses late Cretaceous subduction ages in the Zermatt-Saas Zone

Gisella Rebay, Davide Zanoni, Antonio Langone, Pietro Luoni, Massimo Tiepolo and Maria Iole Spalla

Supplementary Material 2 – Table S1

External standards and validation standards for geochronology

|  |  |  | 207Pb/206Pb |  | 207Pb/235U |  | 206Pb/238U |  | Apparent ages |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Identifier | Zircon name | Run position | Ratio | 2σ | Ratio | 2σ | Ratio | 2σ | 207Pb/235U | 2σ | 206Pb/238U | 2σ |
| External standard |  |  |  |  |  |  |  |  |  |  |  |  |
| Ju24a002 | GJ-1 | n.2 | 0.0602 | 0.0014 | 0.8106 | 0.0210 | 0.0977 | 0.0024 | 603 | 23 | 601 | 16 |
| Ju24a003 | GJ-1 | n.3 | 0.0597 | 0.0014 | 0.8011 | 0.0208 | 0.0973 | 0.0024 | 597 | 23 | 599 | 16 |
| Ju24a004 | GJ-1 | n.4 | 0.0609 | 0.0014 | 0.8194 | 0.0214 | 0.0976 | 0.0024 | 608 | 23 | 600 | 16 |
| Ju24a018 | GJ-1 | n.18 | 0.0601 | 0.0014 | 0.8115 | 0.0212 | 0.0980 | 0.0024 | 603 | 23 | 603 | 16 |
| Ju24a019 | GJ-1 | n.19 | 0.0598 | 0.0014 | 0.8051 | 0.0211 | 0.0977 | 0.0024 | 600 | 23 | 601 | 16 |
| Ju24a030 | GJ-1 | n.30 | 0.0590 | 0.0014 | 0.7976 | 0.0211 | 0.0981 | 0.0025 | 595 | 23 | 603 | 16 |
| Ju24a031 | GJ-1 | n.31 | 0.0596 | 0.0014 | 0.8010 | 0.0212 | 0.0975 | 0.0024 | 597 | 23 | 600 | 16 |
| Ju24a032 | GJ-1 | n.32 | 0.0616 | 0.0014 | 0.8342 | 0.0220 | 0.0983 | 0.0025 | 616 | 24 | 604 | 16 |
| Ju24a033 | GJ-1 | n.33 | 0.0606 | 0.0014 | 0.8075 | 0.0213 | 0.0966 | 0.0024 | 601 | 23 | 594 | 16 |
| Quality control |  |  |  |  |  |  |  |  |  |  |  |  |
| Ju24a020 | 02123 | n.20 | 0.0530 | 0.0014 | 0.3441 | 0.0212 | 0.0471 | 0.0024 | 300 | 23 | 297 | 10 |
| Ju24a021 | 91500 | n.21 | 0.0753 | 0.0014 | 1.8708 | 0.0211 | 0.1802 | 0.0024 | 1071 | 48 | 1068 | 30 |