University of Alberta Geochronology Laboratory

Sm-Nd and methodology.

Rock powders were accurately weighed and spiked with a known amount of mixed 150Nd-149Sm tracer solution. Dissolution took place in  mixed 24N HF + 16N HNO3 media in sealed PFA Teflon vessels at 160oC for 5 days. The fluoride residue was converted to chloride with HCl, and Nd and Sm were separated by conventional cation and HDEHP-based chromatography. Chemical processing blanks were  < 120 picograms of either Sm or Nd, and are insignificant relative to the amount of Sm or Nd analyzed for any rock sample.

The isotopic composition of Nd was  determined in static mode by Multi-Collector ICP- Mass Spectrometry. All isotope ratios were normalized for variable mass fractionation to a value of 146Nd / 144Nd = 0.7219 using the exponential fractionation law. The 143Nd / 144Nd ratio of samples is presented relative to a value of 0.511844 for the La Jolla Nd isotopic standard, monitored by use of an in-house Alfa Nd isotopic standard for each analytical session. Sm isotopic abundances are measured in static mode by Multi-Collector ICP- Mass Spectrometry, and are normalized for variable mass fractionation to a value of 1.17537 for 152Sm / 154Sm also using the exponential law. Using the same isotopic analysis and normalization procedures above, the Geological Survey of Japan Nd isotope standard “Shin Etsu: J-Ndi-1" which has a 143Nd / 144Nd value of 0.512107 ± 7  relative to a LaJolla 143Nd / 144Nd value of 0.511850, when normalized to 146Nd / 144Nd = 0.7219. The value of 143Nd / 144Nd determined for the JNdi-1 standard conducted during the analysis of the 35 samples reported here was 0.512097 ± 6 (2SE); the long-term average value is 0.512101 ± 11 [1SD, n=44, past 3 to 5 years

Sample Procedures for Sr

Powdered rock samples were dissolved in in HF+HNO3, and chemical separation procedures of Sr follow the methodology of Creaser et al. (2004) and Holmden et al. (1997). Isotopic analysis for Sr used MC-ICP-MS methods (Buzon et al., 2007. All analyses are presented relative to a value of 0.710245 for the SRM987 Sr isotopic standard. The measured value of SRM987 over the period of analysis was 0.710265 ± 0.000036 (uncertainty = 2SD absolute, n=4).

MR Buzon, A Simonetti, and RA Creaser. “Migration in the Nile Valley during the New Kingdom Period: A Preliminary Strontium Isotope Study”. Journal of Archaeological Science (2007), 34, 1391-1401.

RA Creaser, HS Grutter, J Carlson and B Crawford. “Macrocrystal phlogopite Rb-Sr dates for the Ekati property kimberlites: Evidence for multiple intrusive episodes during Paleocene and Eocene time”. Lithos (2004), 76, 399-414.

CE Holmden, C., RA Creaser and K Muehlenbachs. “Paleosalinities in brackish water environments: A method based on the isotopic paleohydrology of strontium”. Geochimica et Cosmochimica Acta (1997), 61, 2105-2118.

Memorial University Isotope Laboratory Sr-Nd TIMSMethods.

Whole rock powders were dissolved in Savilex© Teflon capsules using an 8 ml (4:1) mixture of 29 M HF – 15 M HNO3.   After five days of acid digestion on a hotplate, the solution is evaporated to dryness and taken back up in 6M HCl for 4-5 days.  The sample is finally dried down and then re-dissolved in 2.5 M HCL.  Samples are then loaded into a column containing cation exchange resin AG-50W-X8, H+ form, 200-400 mesh where a Sr fraction can be isolated followed by collection of bulk rare earth elements (REE).  This bulk solution is then dried and taken up in 0.18 M HCl and loaded on a second column containing Eichrom© Ln resin (50-100 mesh) to isolate Nd from the other REE.  Sr is purified and recuperated separately using a 1 mL column filled with Eichrom© Sr spec. resin. All reagents are purified in order to insure a low contamination level.

Nd and Sr isotopic compositions are determined using a multi-collector Finnigan Mat 262 mass spectrometer in dynamic mode.  Instrumental mass fractionation of Nd and Sr isotopes are corrected using a Raleigh law relative to 146Nd/144Nd = 0.7219 and88Sr/86Sr = 8.375209.  The reported 143Nd/144Nd and 87Sr/86Sr ratios are corrected for the deviation from repeated duplicates of the JNdi-1 (143Nd/144Nd = 0.512115)  and NBS 987 (87Sr/86Sr = 0.710240)  standards. Replicates of the standards give a mean value of 143Nd/144Nd = 0.512100 ± 9 (1SD, n=26) for JNdi-1 and 87Sr/86Sr = 0.710240 ± 14 (1SD, n=20) for NBS 987.

WHOLE ROCK GEOCHEMISTRY

All major elememts samples were analysed by Li-metaborate/tetraborate fusion ICP methods and trace elements by fusion –MS methods at Activation Laboratories, Ancaster Ontario using the 4Lithores analytical package. Details regarding the analytical methods, standards and detection limits can be found at actlabs.com/geochemistry/lithogeochemistry.