## EPMA
EPMA analyses set up |  |  |  | LOD = Limit of Detection
calcite | Standard | standard supplier | on peak time (s) | Off peak time (s) | avg LOD (wt% elemental) run 1 |  | avg LOD (wt% elemental) run 2 |  | avg LOD (wt% elemental) run 3 |  | avg LOD (wt% elemental) run 4
[5 empty] | average n= 67 | stdev | average n= 62 | stdev | average n= 42 | stdev | average n= 35 | stdev
Mg | Dolomite | University of Leeds | 60 | 30 | 0.023391 | 0.0035228 | 0.018505 | 0.00069354 | 0.021667 | 0.00092756 | 0.021848 | 0.00079936
Si | Diopside | P&H developments | 60 | 30 | 0.013926 | 0.0014011 | 0.01488 | 0.00053401 | 0.021457 | 0.0014395 | 0.0213 | 0.00086637
Mn | Rhodonite | P&H developments | 60 | 30 | 0.03211 | 0.0023783 | 0.028323 | 0.0010544 | 0.032884 | 0.001446 | 0.032581 | 0.0013455
Fe | Hematite | P&H developments | 60 | 30 | 0.035865 | 0.0015712 | 0.029608 | 0.0011012 | 0.035326 | 0.0015499 | 0.034899 | 0.0013188
Ca | Calcite | University of Leeds | 60 | 30 | 0.015054 | 0.00056849 | 0.012594 | 0.00028392 | 0.014915 | 0.00037413 | 0.014738 | 0.00048601
Ba | Baryte | P&H developments | 60 | 30 | 0.050723 | 0.0017483 | 0.048598 | 0.0017561 | 0.056897 | 0.0014881 | 0.056584 | 0.0017365
Sr | Celestine | P&H developments | 60 | 30 | 0.088454 | 0.0051891 | 0.080865 | 0.0036415 | 0.095628 | 0.0054438 | 0.09492 | 0.0053887
apatite | Standard | Std nb |  |  | average n= 199 | stdev
Mg | Diopside | P&H developments | 10 | 5 | 0.024548 | 0.0019039
Si | Diopside | P&H developments | 10 | 5 | 0.024475 | 0.0020946
Mn | Rhodonite | P&H developments | 20 | 10 | 0.049047 | 0.0033048
Fe | Hematite | P&H developments | 20 | 10 | 0.050701 | 0.0027608
Ca | Apatite | P&H developments | 10 | 5 | 0.027148 | 0.0010765
Sr | Celestine | P&H developments | 30 | 15 | 0.047299 | 0.0088188
F | Fluorite | P&H developments | 30 | 15 | 0.067132 | 0.011387
P | Apatite | P&H developments | 10 | 5 | 0.029748 | 0.0025451
Cl | Halite | P&H developments | 15 | 7.5 | 0.027796 | 0.002136
Na | Halite | P&H developments | 10 | 5 | 0.045093 | 0.0040517
fluorite | Standard | Std nb |  |  | average n= 527 | stdev
Fe | Hematite | P&H developments | 20 | 10 | 0.050607 | 0.0024265
Mn | Rhodonite | P&H developments | 20 | 10 | 0.048953 | 0.0028718
Mg | Diopside | P&H developments | 15 | 7.5 | 0.026817 | 0.0020226
Ca | Fluorite | P&H developments | 10 | 5 | 0.022432 | 0.001293
Sr | Celestine | P&H developments | 60 | 30 | 0.044583 | 0.0029237
Cl | Halite | P&H developments | 20 | 10 | 0.029073 | 0.011713
F | Fluorite | P&H developments | 15 | 7.5 | 0.070564 | 0.012188
diopside | Standard | Std nb |  |  | average n= 74 | stdev
Si | Diopside | P&H developments | 30 | 15 | 0.011713 | 0.00019
Fe | Almandine | P&H developments | 30 | 15 | 0.01813 | 0.00031
Mn | Rhodonite | P&H developments | 30 | 15 | 0.01685 | 0.00045
Na | Jadeite | P&H developments | 30 | 15 | 0.02563 | 0.00073
Mg | Diopside | P&H developments | 30 | 15 | 0.01726 | 0.0005
Al | Almandine | P&H developments | 30 | 15 | 0.01279 | 0.00035
K | K-feldspar | P&H developments | 30 | 15 | 0.00687 | 0.00027
Ca | Diopside | P&H developments | 30 | 15 | 0.00663 | 8.9e-05
Ti | Rutile | P&H developments | 30 | 15 | 0.00842 | 9.7e-05
Cr | Cr2O3 | P&H developments | 30 | 15 | 0.01579 | 0.00032

## LA-ICP-MS
LA-ICP-MS limit of detections per run per element | [7 empty] | LOD = Limit of Detection
Internal standard = Ca
Date of the analyses |  | 2017-05-18 | [6 empty] | 2017-06-26 | [7 empty] | 2017-06-27 | [6 empty] | 2017-06-28 | [6 empty] | 2017-06-28
Sample |  |  | OKC19-2 | [6 empty] | OKC19-2 |  |  |  | OKA1 |  |  |  | OKC17 |  |  | OKA5 |  |  |  | OKC4 |  |  | OKC3 |  |  |  | OKC8 |  |  |  | OKC6
Mineral |  |  | calcite | apatite | fluorite | parisite |  |  |  | calcite | apatite | parisite |  | calcite | apatite |  |  | calcite | apatite |  | calcite | apatite |  |  | calcite | apatite |  | calcite | fluorite |  |  | calcite | parisite | fluorite |  | fluorite
Ca ppm (EPMA) |  |  | 384880.5714 | 379828.0571 | 518144.6667 | 74463.9459 |  |  |  | 387101.0625 | 376690.6 | 74455.0487 |  | 378618.9 | 388047.3103 |  |  | 390771.6111 | 384239.8431 |  | 373723.95 | 386375.5806 |  |  | 378838.0926 | 380207.3333 |  | 383335.8519 | 500553.3103 |  |  | 408559.3943 | 74494.5353 | 496975.9375 |  | 503412.48
|  |  | LOD ppm | [6 empty] | LOD ppm |  |  |  | LOD ppm |  |  |  | LOD ppm |  |  | LOD ppm |  |  |  | LOD ppm |  |  | LOD ppm |  |  |  | LOD ppm |  |  |  | LOD ppm
| Na23 | 6.5106e-05 | 25.0581 | 24.7292 | 33.7345 | 4.8481 |  | Na23 | 0.00062142 | 240.5528 | 234.0835 | 46.268 | 0.00062142 | 235.2818 | 241.1408 | Na23 | 0.00018884 | 73.7914 | 72.558 | 0.00018884 | 70.5722 | 72.9613 | Na23 | 0.00014836 | 56.2048 | 56.4079 | 0.00057239 | 219.4191 | 286.5137 | Na23 | 6.8388e-05 | 27.9405 | 5.0945 | 33.9871 | 6.8388e-05 | 34.4273
| Sr88 | 9.2735e-07 | 0.35692 | 0.35223 | 0.4805 | 0.069054 |  | Mg24 | 2.8534e-05 | 11.0456 | 10.7486 | 2.1245 | 2.8534e-05 | 10.8036 | 11.0726 | Mg24 | 8.1435e-06 | 3.1823 | 3.1291 | 8.1435e-06 | 3.0434 | 3.1465 | Mg24 | 8.9199e-06 | 3.3792 | 3.3914 | 2.7194e-05 | 10.4245 | 13.6121 | Mg24 | 4.1839e-06 | 1.7094 | 0.31168 | 2.0793 | 4.1839e-06 | 2.1062
| Y89 | 1.1329e-06 | 0.43603 | 0.43031 | 0.58701 | 0.08436 |  | K39 | 0.0014813 | 573.3974 | 557.9768 | 110.2873 | 0.0014813 | 560.8331 | 574.7991 | K39 | 0.00037351 | 145.957 | 143.5173 | 0.00037351 | 139.5895 | 144.315 | Al27 | 6.1828e-05 | 23.4227 | 23.5073 | 0.00018287 | 70.0997 | 91.535 | Al27 | 2.6322e-05 | 10.7542 | 1.9609 | 13.0815 | 2.6322e-05 | 13.2509
| Ba137 | 2.5751e-05 | 9.9109 | 9.7808 | 13.3426 | 1.9175 |  | Ca40 | 0.00043601 | 168.7813 | 164.2422 | 32.4634 | 0.00043601 | 165.0829 | 169.1938 | Ca40 | 7.1613e-05 | 27.9842 | 27.5165 | 7.1613e-05 | 26.7634 | 27.6694 | K39 | 8.1709e-05 | 30.9545 | 31.0664 | 0.0013812 | 529.4616 | 691.3617 | K39 | 0.00018561 | 75.8308 | 13.8266 | 92.2413 | 0.00018561 | 93.436
| La139 | 7.3262e-07 | 0.28197 | 0.27827 | 0.3796 | 0.054554 |  | Mn55 | 4.6534e-05 | 18.0133 | 17.5289 | 3.4647 | 4.6534e-05 | 17.6186 | 18.0574 | Mn55 | 1.8502e-05 | 7.2302 | 7.1093 | 1.8502e-05 | 6.9148 | 7.1488 | Ca40 | 0.00030201 | 114.4147 | 114.8282 | 0.00035999 | 137.9959 | 180.1927 | Ca40 | 3.8511e-05 | 15.7341 | 2.8689 | 19.1392 | 3.8511e-05 | 19.3871
| Ce140 | 5.0895e-07 | 0.19589 | 0.19331 | 0.26371 | 0.037898 |  | Fe56 | 3.7566e-05 | 14.5417 | 14.1506 | 2.7969 | 3.7566e-05 | 14.223 | 14.5772 | Fe56 | 1.2748e-05 | 4.9817 | 4.8985 | 1.2748e-05 | 4.7644 | 4.9257 | Ti47 | 0.00027661 | 104.7907 | 105.1695 | 0.00064147 | 245.8993 | 321.091 | Ti47 | 9.6835e-05 | 39.563 | 7.2137 | 48.1248 | 9.6835e-05 | 48.7481
| Pr141 | 1.199e-06 | 0.46146 | 0.4554 | 0.62123 | 0.089279 |  | Sr88 | 3.8035e-06 | 1.4724 | 1.4328 | 0.28319 | 3.8035e-06 | 1.4401 | 1.476 | Sr88 | 1.0002e-06 | 0.39085 | 0.38432 | 1.0002e-06 | 0.3738 | 0.38646 | Cr53 | 9.1385e-05 | 34.62 | 34.7451 | 0.00047336 | 181.4571 | 236.9436 | Cr53 | 4.2085e-05 | 17.1944 | 3.1351 | 20.9154 | 4.2085e-05 | 21.1863
| Nd146 | 2.6288e-06 | 1.0118 | 0.99851 | 1.3621 | 0.19575 |  | Y89 | 2.9836e-06 | 1.155 | 1.1239 | 0.22214 | 2.9836e-06 | 1.1296 | 1.1578 | Y89 | 8.1058e-07 | 0.31675 | 0.31146 | 8.1058e-07 | 0.30293 | 0.31319 | Mn55 | 1.1794e-05 | 4.4682 | 4.4844 | 5.7096e-05 | 21.8871 | 28.5798 | Mn55 | 7.5873e-06 | 3.0999 | 0.56521 | 3.7707 | 7.5873e-06 | 3.8195
| Sm147 | 1.5021e-05 | 5.7813 | 5.7054 | 7.783 | 1.1185 |  | Ba137 | 3.2421e-05 | 12.5502 | 12.2126 | 2.4139 | 3.2421e-05 | 12.2752 | 12.5808 | Ba137 | 8.1922e-06 | 3.2013 | 3.1478 | 8.1922e-06 | 3.0616 | 3.1653 | Fe56 | 7.2732e-06 | 2.7553 | 2.7653 | 2.8857e-05 | 11.0618 | 14.4443 | Fe56 | 3.6256e-06 | 1.4813 | 0.27009 | 1.8019 | 3.6256e-06 | 1.8252
| Eu153 | 5.1563e-06 | 1.9845 | 1.9585 | 2.6717 | 0.38396 |  | La139 | 1.3149e-05 | 5.09 | 4.9531 | 0.97902 | 1.3149e-05 | 4.9785 | 5.1025 | La139 | 3.2215e-06 | 1.2589 | 1.2378 | 3.2215e-06 | 1.2039 | 1.2447 | Sr88 | 9.9893e-07 | 0.37843 | 0.3798 | 3.0454e-06 | 1.1674 | 1.5244 | Sr88 | 4.8299e-07 | 0.19733 | 0.03598 | 0.24004 | 4.8299e-07 | 0.24315
| Gd157 | 3.1367e-06 | 1.2073 | 1.1914 | 1.6253 | 0.23357 |  | Ce140 | 9.4053e-06 | 3.6408 | 3.5429 | 0.70027 | 9.4053e-06 | 3.561 | 3.6497 | Ce140 | 2.3223e-06 | 0.90748 | 0.89231 | 2.3223e-06 | 0.86789 | 0.89727 | Y89 | 7.9537e-07 | 0.30132 | 0.30241 | 2.4248e-06 | 0.92953 | 1.2138 | Y89 | 3.8381e-07 | 0.15681 | 0.028592 | 0.19075 | 3.8381e-07 | 0.19322
| Tb159 | 8.1054e-07 | 0.31196 | 0.30787 | 0.41998 | 0.060356 |  | Pr141 | 2.7231e-06 | 1.0541 | 1.0258 | 0.20275 | 2.7231e-06 | 1.031 | 1.0567 | Pr141 | 7.0018e-07 | 0.27361 | 0.26904 | 7.0018e-07 | 0.26167 | 0.27053 | Ba137 | 7.7904e-06 | 2.9513 | 2.962 | 2.3751e-05 | 9.1045 | 11.8885 | Ba137 | 3.7724e-06 | 1.5412 | 0.28102 | 1.8748 | 3.7724e-06 | 1.8991
| Dy163 | 7.1458e-06 | 2.7503 | 2.7142 | 3.7026 | 0.53211 |  | Nd146 | 1.7227e-05 | 6.6686 | 6.4893 | 1.2826 | 1.7227e-05 | 6.5225 | 6.6849 | Nd146 | 4.4644e-06 | 1.7446 | 1.7154 | 4.4644e-06 | 1.6685 | 1.725 | La139 | 3.417e-06 | 1.2945 | 1.2992 | 1.0417e-05 | 3.9933 | 5.2144 | La139 | 1.4932e-06 | 0.61007 | 0.11124 | 0.7421 | 1.4932e-06 | 0.75171
| Ho165 | 1.5316e-06 | 0.58947 | 0.58173 | 0.79357 | 0.11405 |  | Sm147 | 2.0579e-05 | 7.966 | 7.7518 | 1.5322 | 2.0579e-05 | 7.7915 | 7.9855 | Sm147 | 5.1688e-06 | 2.0198 | 1.9861 | 5.1688e-06 | 1.9317 | 1.9971 | Ce140 | 2.3493e-06 | 0.89 | 0.89322 | 7.1623e-06 | 2.7456 | 3.5851 | Ce140 | 1.0896e-06 | 0.44516 | 0.081168 | 0.5415 | 1.0896e-06 | 0.54851
| Er166 | 2.5956e-06 | 0.99901 | 0.98589 | 1.3449 | 0.19328 |  | Eu153 | 5.8197e-06 | 2.2528 | 2.1922 | 0.43331 | 5.8197e-06 | 2.2035 | 2.2583 | Eu153 | 1.4594e-06 | 0.57031 | 0.56078 | 1.4594e-06 | 0.54543 | 0.56389 | Pr141 | 6.6191e-07 | 0.25076 | 0.25166 | 2.018e-06 | 0.77356 | 1.0101 | Pr141 | 3.1898e-07 | 0.13032 | 0.023762 | 0.15853 | 3.1898e-07 | 0.16058
| Tm169 | 1.268e-06 | 0.48804 | 0.48163 | 0.65702 | 0.094422 |  | Gd157 | 2.4074e-05 | 9.3192 | 9.0686 | 1.7925 | 2.4074e-05 | 9.115 | 9.342 | Gd157 | 5.9732e-06 | 2.3341 | 2.2951 | 5.9732e-06 | 2.2323 | 2.3079 | Nd146 | 4.1256e-06 | 1.5629 | 1.5686 | 1.2578e-05 | 4.8214 | 6.2957 | Nd146 | 1.9879e-06 | 0.81218 | 0.14809 | 0.98794 | 1.9879e-06 | 1.0007
| Yb172 | 2.2988e-06 | 0.88476 | 0.87315 | 1.1911 | 0.17118 |  | Tb159 | 3.1883e-06 | 1.2342 | 1.201 | 0.23738 | 3.1883e-06 | 1.2071 | 1.2372 | Tb159 | 7.9531e-07 | 0.31078 | 0.30559 | 7.9531e-07 | 0.29723 | 0.30729 | Sm147 | 4.9404e-06 | 1.8716 | 1.8784 | 1.5062e-05 | 5.7737 | 7.5392 | Sm147 | 2.3685e-06 | 0.96768 | 0.17644 | 1.1771 | 2.3685e-06 | 1.1923
| Lu175 | 5.4139e-07 | 0.20837 | 0.20564 | 0.28052 | 0.040314 |  | Dy163 | 1.4087e-05 | 5.4529 | 5.3063 | 1.0488 | 1.4087e-05 | 5.3334 | 5.4662 | Dy163 | 3.5235e-06 | 1.3769 | 1.3539 | 3.5235e-06 | 1.3168 | 1.3614 | Eu153 | 1.3902e-06 | 0.52666 | 0.52857 | 4.2383e-06 | 1.6247 | 2.1215 | Eu153 | 6.5764e-07 | 0.26869 | 0.048991 | 0.32683 | 6.5764e-07 | 0.33107
| Th232 | 1.2312e-06 | 0.47385 | 0.46763 | 0.63792 | 0.091677 |  | Ho165 | 3.5362e-06 | 1.3689 | 1.332 | 0.26329 | 3.5362e-06 | 1.3389 | 1.3722 | Ho165 | 8.8621e-07 | 0.34631 | 0.34052 | 8.8621e-07 | 0.3312 | 0.34241 | Gd157 | 5.7001e-06 | 2.1594 | 2.1672 | 1.7378e-05 | 6.6616 | 8.6986 | Gd157 | 2.6831e-06 | 1.0962 | 0.19988 | 1.3335 | 2.6831e-06 | 1.3507
| U238 | 7.7391e-07 | 0.29786 | 0.29395 | 0.401 | 0.057628 |  | Er166 | 1.1031e-05 | 4.2701 | 4.1553 | 0.82132 | 1.1031e-05 | 4.1766 | 4.2806 | Er166 | 2.7354e-06 | 1.0689 | 1.051 | 2.7354e-06 | 1.0223 | 1.0569 | Tb159 | 7.4766e-07 | 0.28324 | 0.28427 | 2.2794e-06 | 0.87377 | 1.141 | Tb159 | 3.5117e-07 | 0.14347 | 0.02616 | 0.17452 | 3.5117e-07 | 0.17678
[8 empty] | Tm169 | 3.5876e-06 | 1.3887 | 1.3514 | 0.26711 | 3.5876e-06 | 1.3583 | 1.3921 | Tm169 | 8.968e-07 | 0.35044 | 0.34459 | 8.968e-07 | 0.33516 | 0.3465 | Dy163 | 3.276e-06 | 1.2411 | 1.2456 | 9.9875e-06 | 3.8286 | 4.9993 | Dy163 | 1.5448e-06 | 0.63114 | 0.11508 | 0.76773 | 1.5448e-06 | 0.77767
[8 empty] | Yb172 | 1.85e-05 | 7.1614 | 6.9688 | 1.3774 | 1.85e-05 | 7.0045 | 7.1789 | Yb172 | 4.495e-06 | 1.7565 | 1.7272 | 4.495e-06 | 1.6799 | 1.7368 | Ho165 | 8.2175e-07 | 0.31131 | 0.31243 | 5.0105e-06 | 1.9207 | 2.508 | Ho165 | 3.8428e-07 | 0.157 | 0.028627 | 0.19098 | 3.8428e-07 | 0.19345
[8 empty] | Lu175 | 5.0063e-06 | 1.9379 | 1.8858 | 0.37274 | 5.0063e-06 | 1.8955 | 1.9427 | Lu175 | 1.2078e-06 | 0.47196 | 0.46407 | 1.2078e-06 | 0.45137 | 0.46665 | Er166 | 2.5372e-06 | 0.96118 | 0.96465 | 7.735e-06 | 2.9651 | 3.8718 | Er166 | 1.1813e-06 | 0.48263 | 0.087999 | 0.58707 | 1.1813e-06 | 0.59467
[8 empty] | Th232 | 6.5499e-05 | 25.3549 | 24.673 | 4.8768 | 6.5499e-05 | 24.7993 | 25.4169 | Th232 | 1.0973e-05 | 4.2878 | 4.2161 | 1.0973e-05 | 4.1007 | 4.2396 | Tm169 | 8.3508e-07 | 0.31636 | 0.3175 | 2.5459e-06 | 0.97593 | 1.2744 | Tm169 | 3.8646e-07 | 0.15789 | 0.028789 | 0.19206 | 3.8646e-07 | 0.19455
[8 empty] | U238 | 8.2385e-05 | 31.8912 | 31.0336 | 6.134 | 8.2385e-05 | 31.1924 | 31.9692 | U238 | 1.3355e-05 | 5.2188 | 5.1316 | 1.3355e-05 | 4.9911 | 5.1601 | Yb172 | 4.1835e-06 | 1.5849 | 1.5906 | 1.2754e-05 | 4.8891 | 6.3841 | Yb172 | 1.8991e-06 | 0.77591 | 0.14147 | 0.94382 | 1.8991e-06 | 0.95604
[23 empty] | Lu175 | 1.1276e-06 | 0.42717 | 0.42871 | 3.4376e-06 | 1.3178 | 1.7207 | Lu175 | 5.0589e-07 | 0.20668 | 0.037686 | 0.25141 | 5.0589e-07 | 0.25467
[23 empty] | Th232 | 1.3449e-05 | 5.0949 | 5.1133 | 4.1001e-05 | 15.7171 | 20.5231 | Th232 | 3.6049e-06 | 1.4728 | 0.26855 | 1.7916 | 3.6049e-06 | 1.8148
[23 empty] | U238 | 1.6401e-05 | 6.2132 | 6.2357 | 5.0001e-05 | 19.1671 | 25.0281 | U238 | 4.3575e-06 | 1.7803 | 0.32461 | 2.1655 | 4.3575e-06 | 2.1936
Internal standard = Si
Date of the analyses |  | 2017-06-26 |  |  |  | 2017-06-27
Sample |  |  | OKA1 |  |  |  | OKA5
Mineral |  |  | diopside |  |  |  | diopside
Si ppm (EPMA) |  |  | 249981.3248 |  |  |  | 244323.693
|  |  | LOD ppm |  |  |  | LOD ppm
| Na23 | 0.00064076 | 160.1784 |  | Na23 | 0.012451 | 3042.1868
| Mg24 | 2.9422e-05 | 7.355 |  | Mg24 | 0.00053697 | 131.1947
| K39 | 0.0015274 | 381.8117 |  | K39 | 0.024629 | 6017.3471
| Ca40 | 0.00044958 | 112.3874 |  | Ca40 | 0.004722 | 1153.7012
| Mn55 | 4.7982e-05 | 11.9947 |  | Mn55 | 0.00122 | 298.0775
| Fe56 | 3.8735e-05 | 9.683 |  | Fe56 | 0.00084061 | 205.3807
| Sr88 | 3.9219e-06 | 0.98041 |  | Sr88 | 6.5952e-05 | 16.1137
| Y89 | 3.0765e-06 | 0.76906 |  | Y89 | 5.3448e-05 | 13.0586
| Ba137 | 3.343e-05 | 8.3568 |  | Ba137 | 0.00054018 | 131.978
| La139 | 1.3558e-05 | 3.3893 |  | La139 | 0.00021242 | 51.8991
| Ce140 | 9.698e-06 | 2.4243 |  | Ce140 | 0.00015313 | 37.4126
| Pr141 | 2.8078e-06 | 0.7019 |  | Pr141 | 4.6169e-05 | 11.2801
| Nd146 | 1.7763e-05 | 4.4405 |  | Nd146 | 0.00029438 | 71.9234
| Sm147 | 2.1219e-05 | 5.3044 |  | Sm147 | 0.00034082 | 83.2706
| Eu153 | 6.0009e-06 | 1.5001 |  | Eu153 | 9.6233e-05 | 23.512
| Gd157 | 2.4824e-05 | 6.2054 |  | Gd157 | 0.00039386 | 96.2295
| Tb159 | 3.2875e-06 | 0.82181 |  | Tb159 | 5.2441e-05 | 12.8126
| Dy163 | 1.4525e-05 | 3.631 |  | Dy163 | 0.00023233 | 56.7645
| Ho165 | 3.6462e-06 | 0.91149 |  | Ho165 | 5.8435e-05 | 14.2771
| Er166 | 1.1374e-05 | 2.8434 |  | Er166 | 0.00018037 | 44.068
| Tm169 | 3.6992e-06 | 0.92473 |  | Tm169 | 5.9133e-05 | 14.4477
| Yb172 | 1.9076e-05 | 4.7686 |  | Yb172 | 0.00029639 | 72.4158
| Lu175 | 5.1621e-06 | 1.2904 |  | Lu175 | 7.9637e-05 | 19.4573
| Th232 | 6.7538e-05 | 16.8832 |  | Th232 | 0.00072352 | 176.7726
| U238 | 8.4949e-05 | 21.2356 |  | U238 | 0.00088062 | 215.1554