## Read Me
All elements done in medium resolution (~4000) to avoid spectral interferences in Si, S, As, Mn, and Fe
As number can be problematic if the apatite contains Cl because 37Cl38Ar interference on 75As cannot be resolved at the medium resolution
Oxide formation rate (ThO/Th) was set to 0.15%
Laser conditions
New Wave UP-213
Repetition rate: 5 Hz
Beam size: 55 um
Ablation time: 50s
Energy density: 5.5 J/cm2
Beam size was set to 55 um to compensate loss of sensitivity caused by employing medium resolution
VAL2 rim could not be analyzed in line mode due to size of the grains and laser beam size too big.
RHM9: some of the spots were too thin, no results for those thin spots
RHM2: The thin-section were too thin (< 30 um), so laser ablation was not possible. No results provided.
Spots heavily contaminated by inclusions (Ba-rich and Fe-Mn-rich) were discarded.

## USGS BCR2G
No | Item | Value* | Uncertainty | Measured | 2SE | RSD
14 | Si | 254279.5184 | 0.4 | 251500 | 6400 | -1.093%
16 | S | 30-40 |  | 239 | 35
25 | Mn | 1550 | 70 | 1512 | 27 | -2.452%
26 | Fe | 96384.9955 | 0.3 | 88300 | 2100 | -8.388%
33 | As | 0.7-3.89 |  | 0.89 | 0.2
38 | Sr | 342 | 4 | 333.4 | 8.2 | -2.515%
39 | Y | 24.4-39.8 | 3 | 28.11 | 0.71
56 | Ba | 683 | 7 | 674 | 14 | -1.318%
57 | La | 24.7 | 0.3 | 23.74 | 0.74 | -3.887%
58 | Ce | 53.3 | 0.5 | 51.2 | 1.3 | -3.94%
59 | Pr | 6.7 | 0.4 | 6.37 | 0.28 | -4.925%
60 | Nd | 28.9 | 0.3 | 32.57 | 0.68 | 12.7%
62 | Sm | 6.59 | 0.07 | 5.47 | 0.66 | -17%
63 | Eu | 1.97 | 0.02 | 1.93 | 0.16 | -2.03%
64 | Gd | 6.71 | 0.07 | 5.81 | 0.12 | -13.41%
65 | Tb | 1.02 | 0.08 | 0.868 | 0.033 | -14.9%
66 | Dy | 6.44 | 0.06 | 5.07 | 0.22 | -21.27%
67 | Ho | 1.27 | 0.08 | 1.159 | 0.048 | -8.74%
68 | Er | 3.7 | 0.04 | 3.1 | 0.28 | -16.22%
69 | Tm | 0.51 | 0.04 | 0.488 | 0.021 | -4.314%
70 | Yb | 3.39 | 0.03 | 2.95 | 0.21 | -12.98%
71 | Lu | 0.503 | 0.005 | 0.452 | 0.051 | -10.14%
90 | Th | 5.9 | 0.3 | 5.57 | 0.12 | -5.593%
* Values recommended by GeoRem or ranges of values reported.

## 19Jun28a Roger Mitchell Apatite
| Source file | DateTime | Date | Time | Duration(s) | Comments | Total points | Selection type | Components | m44_MR_CPS | m44_MR_CPS_Int2SE | Si_MR_ppm_m28 | Si_MR_ppm_m28_Int2SE | S_MR_ppm_m32 | S_MR_ppm_m32_Int2SE | Mn_MR_ppm_m55 | Mn_MR_ppm_m55_Int2SE | Fe_MR_ppm_m56 | Fe_MR_ppm_m56_Int2SE | As_MR_ppm_m75 | As_MR_ppm_m75_Int2SE | Sr_MR_ppm_m88 | Sr_MR_ppm_m88_Int2SE | Y_MR_ppm_m89 | Y_MR_ppm_m89_Int2SE | Ba_MR_ppm_m138 | Ba_MR_ppm_m138_Int2SE | Ce_MR_ppm_m140 | Ce_MR_ppm_m140_Int2SE | La_MR_ppm_m139 | La_MR_ppm_m139_Int2SE | Pr_MR_ppm_m141 | Pr_MR_ppm_m141_Int2SE | Nd_MR_ppm_m142 | Nd_MR_ppm_m142_Int2SE | Sm_MR_ppm_m147 | Sm_MR_ppm_m147_Int2SE | Eu_MR_ppm_m151 | Eu_MR_ppm_m151_Int2SE | Gd_MR_ppm_m157 | Gd_MR_ppm_m157_Int2SE | Tb_MR_ppm_m159 | Tb_MR_ppm_m159_Int2SE | Dy_MR_ppm_m163 | Dy_MR_ppm_m163_Int2SE | Ho_MR_ppm_m165 | Ho_MR_ppm_m165_Int2SE | Er_MR_ppm_m166 | Er_MR_ppm_m166_Int2SE | Tm_MR_ppm_m169 | Tm_MR_ppm_m169_Int2SE | Yb_MR_ppm_m172 | Yb_MR_ppm_m172_Int2SE | Lu_MR_ppm_m175 | Lu_MR_ppm_m175_Int2SE | Th_MR_ppm_m232 | Th_MR_ppm_m232_Int2SE
Output_1_1 | RHM5-1.FIN2 | 28/06/2019 (6) 15:57:21.00 | 28/06/2019 (6) | 15:57 | 44.585 | RHM5-1 | 24 | Normal | 1 | 1670000 | 140000 | 362 | 64 | 240 | 36 | 289 | 24 | 173 | 15 | 3.7 | 1.1 | 9800 | 650 | 299 | 27 | 37 | 4 | 2250 | 260 | 806 | 68 | 352 | 29 | 1790 | 170 | 227 | 20 | 72.5 | 5.8 | 174 | 14 | 21.2 | 2 | 90.4 | 9.1 | 12.4 | 1.4 | 25.1 | 2.3 | 2.53 | 0.38 | 9.8 | 1.6 | 1 | 0.28 | 5.37 | 0.75
Output_1_2 | RHM5-2.FIN2 | 28/06/2019 (6) 15:59:53.00 | 28/06/2019 (6) | 16:00 | 40.064 | RHM5-2 | 21 | Normal | 1 | 1830000 | 210000 | 233 | 52 | 157 | 36 | 253 | 40 | 133 | 18 | 2.3 | 1.1 | 8500 | 1100 | 439 | 46 | 29.4 | 3.3 | 1830 | 230 | 589 | 61 | 287 | 33 | 1450 | 140 | 220 | 18 | 74.6 | 8 | 190 | 18 | 27.5 | 3.1 | 121 | 12 | 18.6 | 2.4 | 35 | 3.5 | 3.56 | 0.52 | 16.3 | 2.2 | 1.51 | 0.32 | 11 | 1.9
Output_1_3 | RHM5-3.FIN2 | 28/06/2019 (6) 16:02:04.00 | 28/06/2019 (6) | 16:02 | 44.585 | RHM5-3 | 24 | Normal | 1 | 1730000 | 190000 | 493 | 65 | 226 | 51 | 307 | 32 | 179 | 25 | 3.2 | 1 | 8300 | 1400 | 235 | 29 | 42 | 6.3 | 2390 | 350 | 771 | 92 | 329 | 34 | 1640 | 200 | 198 | 21 | 62.2 | 7.4 | 143 | 16 | 17.6 | 2.3 | 73 | 10 | 10.2 | 1.2 | 20.7 | 3.1 | 1.91 | 0.36 | 8.1 | 1.1 | 0.68 | 0.17 | 4.09 | 0.73
Output_1_4 | RHM5-4.FIN2 | 28/06/2019 (6) 16:04:15.00 | 28/06/2019 (6) | 16:04 | 44.585 | RHM5-4 | 24 | Normal | 1 | 1720000 | 140000 | 201 | 40 | 123 | 36 | 256 | 26 | 141 | 13 | 2.7 | 0.65 | 9380 | 760 | 309 | 22 | 36.1 | 2.4 | 2230 | 210 | 714 | 55 | 329 | 31 | 1690 | 120 | 214 | 14 | 69.5 | 4.4 | 181 | 13 | 22.4 | 2.3 | 97 | 7.4 | 13.2 | 1.2 | 27 | 2.9 | 2.4 | 0.33 | 11.5 | 1.4 | 1.21 | 0.3 | 5.46 | 0.47
Output_1_5 | RHM5-5.FIN2 | 28/06/2019 (6) 16:06:27.00 | 28/06/2019 (6) | 16:06 | 44.585 | RHM5-5 | 24 | Normal | 1 | 1860000 | 180000 | 230 | 42 | 158 | 29 | 265 | 34 | 134 | 18 | 3.36 | 0.88 | 8000 | 1000 | 231 | 23 | 31.3 | 3.7 | 2330 | 310 | 729 | 78 | 309 | 31 | 1570 | 180 | 192 | 18 | 58.7 | 6 | 150 | 17 | 16.4 | 2.2 | 69.3 | 6.7 | 10.1 | 1.5 | 18.2 | 2.4 | 1.72 | 0.3 | 8.9 | 1.9 | 0.7 | 0.2 | 4.03 | 0.62
Output_1_6 | 541-1.FIN2 | 28/06/2019 (6) 16:19:33.00 | 28/06/2019 (6) | 16:20 | 44.585 | 541-1 | 24 | Normal | 1 | 1830000 | 160000 | 202 | 40 | 200 | 33 | 329 | 34 | 215 | 18 | 5.4 | 1 | 7700 | 940 | 154 | 13 | 29.5 | 2.5 | 2190 | 200 | 711 | 49 | 325 | 28 | 1700 | 140 | 184 | 17 | 52.4 | 4.1 | 116 | 11 | 13.3 | 1.3 | 52 | 5.6 | 6.72 | 0.63 | 13.9 | 1.3 | 1.24 | 0.25 | 6.3 | 1.1 | 0.47 | 0.1 | 3.93 | 0.51
Output_1_7 | 541-2.FIN2 | 28/06/2019 (6) 16:21:44.00 | 28/06/2019 (6) | 16:22 | 20.9 | 541-2 | 11 | Normal | 1 | 2400000 | 420000 | 307 | 58 | 127 | 34 | 256 | 41 | 147 | 32 | 2.3 | 1.2 | 7900 | 1400 | 169 | 24 | 30.9 | 6.8 | 2170 | 430 | 770 | 110 | 355 | 42 | 1700 | 220 | 184 | 30 | 58.3 | 8.2 | 120 | 14 | 15 | 2.4 | 61.5 | 9.2 | 8.4 | 1.5 | 15.2 | 2 | 1.37 | 0.37 | 5.97 | 0.94 | 0.62 | 0.21 | 3.8 | 1
Output_1_8 | 541-3.FIN2 | 28/06/2019 (6) 16:23:56.00 | 28/06/2019 (6) | 16:24 | 25.939 | 541-3 | 14 | Normal | 1 | 2060000 | 550000 | 460 | 160 | 194 | 59 | 290 | 91 | 180 | 42 | 3.5 | 1.3 | 8800 | 2200 | 213 | 58 | 52 | 20 | 2150 | 530 | 820 | 200 | 390 | 110 | 1970 | 530 | 231 | 63 | 69 | 17 | 160 | 41 | 18 | 4.3 | 74 | 18 | 10.5 | 2.6 | 19.9 | 4.5 | 1.92 | 0.58 | 7.2 | 2 | 0.82 | 0.29 | 6.6 | 2
Output_1_9 | 541-4.FIN2 | 28/06/2019 (6) 16:26:07.00 | 28/06/2019 (6) | 16:26 | 27.605 | 541-4 | 15 | Normal | 1 | 1940000 | 250000 | 480 | 60 | 138 | 33 | 311 | 37 | 209 | 24 | 5.2 | 1.3 | 8200 | 1400 | 183 | 17 | 36.1 | 5.7 | 2530 | 260 | 826 | 83 | 357 | 37 | 1750 | 170 | 204 | 20 | 60.6 | 6.2 | 138 | 16 | 14.4 | 1.7 | 63.4 | 7.4 | 8.4 | 0.85 | 15.9 | 1.9 | 1.53 | 0.21 | 7.1 | 2.2 | 0.72 | 0.26 | 6.29 | 0.94
Output_1_10 | 541-5.FIN2 | 28/06/2019 (6) 16:28:19.00 | 28/06/2019 (6) | 16:28 | 44.585 | 541-5 | 24 | Normal | 1 | 1670000 | 120000 | 572 | 46 | 157 | 30 | 313 | 27 | 319 | 23 | 4.8 | 1 | 8870 | 800 | 184 | 11 | 33.8 | 3.1 | 2920 | 310 | 956 | 50 | 422 | 27 | 2140 | 200 | 230 | 18 | 66 | 4.6 | 151 | 11 | 15.87 | 0.9 | 65.1 | 4.5 | 8.21 | 0.58 | 16.8 | 2 | 1.5 | 0.31 | 6.03 | 0.87 | 0.69 | 0.16 | 4.14 | 0.56
Output_1_11 | VAL4A-1.FIN2 | 28/06/2019 (6) 16:46:38.00 | 28/06/2019 (6) | 16:47 | 44.585 | VAL4A-1 | 24 | Normal | 1 | 1923000 | 80000 | 331 | 38 | 208 | 39 | 219 | 16 | 102.6 | 6.1 | 2.23 | 0.73 | 9250 | 720 | 193 | 12 | 28.2 | 2.1 | 2190 | 240 | 863 | 49 | 282 | 11 | 1584 | 65 | 234 | 14 | 68 | 3.2 | 154.7 | 8.1 | 14.6 | 1 | 70.4 | 4.8 | 9.16 | 0.59 | 15.1 | 1.4 | 1.54 | 0.25 | 6.45 | 0.97 | 0.63 | 0.13 | 4.69 | 0.35
Output_1_12 | VAL4A-2.FIN2 | 28/06/2019 (6) 16:48:48.00 | 28/06/2019 (6) | 16:49 | 44.585 | VAL4A-2 | 24 | Normal | 1 | 1990000 | 140000 | 410 | 110 | 186 | 32 | 241 | 20 | 182 | 33 | 2.96 | 0.92 | 10800 | 1700 | 194 | 15 | 31 | 2.6 | 2600 | 310 | 998 | 74 | 301 | 31 | 1680 | 160 | 248 | 21 | 65.3 | 4.3 | 154 | 12 | 14.1 | 1.3 | 69.2 | 6.1 | 8.9 | 0.85 | 15.2 | 1.4 | 1.52 | 0.18 | 5.57 | 0.75 | 0.61 | 0.14 | 4.18 | 0.44
Output_1_13 | VAL4A-3.FIN2 | 28/06/2019 (6) 16:51:00.00 | 28/06/2019 (6) | 16:51 | 44.585 | VAL4A-3 | 24 | Normal | 1 | 2060000 | 100000 | 369 | 27 | 233 | 32 | 246 | 17 | 138 | 12 | 3.01 | 0.72 | 9220 | 390 | 196 | 11 | 32.4 | 2.3 | 2370 | 210 | 889 | 48 | 270 | 16 | 1507 | 97 | 227 | 10 | 66.9 | 3.5 | 150.4 | 8.2 | 14.92 | 0.93 | 72.4 | 4.6 | 9.58 | 0.53 | 15.2 | 1.2 | 1.55 | 0.18 | 6.11 | 0.8 | 0.65 | 0.13 | 5.16 | 0.31
Output_1_14 | VAL4A-4.FIN2 | 28/06/2019 (6) 16:53:11.00 | 28/06/2019 (6) | 16:53 | 44.585 | VAL4A-4 | 24 | Normal | 1 | 1990000 | 100000 | 149 | 29 | 119 | 28 | 243 | 27 | 122 | 13 | 2.62 | 0.83 | 9520 | 970 | 200 | 14 | 32.9 | 4.4 | 2440 | 220 | 912 | 81 | 262 | 21 | 1590 | 140 | 244 | 16 | 69.8 | 5 | 160 | 14 | 14.8 | 1.1 | 70.3 | 4.8 | 8.97 | 0.81 | 15.9 | 1.5 | 1.52 | 0.21 | 5.72 | 0.63 | 0.62 | 0.13 | 4.8 | 0.48
Output_1_15 | VAL4A-5.FIN2 | 28/06/2019 (6) 16:55:22.00 | 28/06/2019 (6) | 16:55 | 44.585 | VAL4A-5 | 24 | Normal | 1 | 2030000 | 140000 | 281 | 28 | 145 | 28 | 173 | 17 | 79 | 6.4 | 1.61 | 0.52 | 9650 | 620 | 239 | 16 | 25.3 | 2.1 | 2680 | 260 | 915 | 59 | 292 | 22 | 1657 | 97 | 269 | 18 | 80.5 | 4.9 | 183 | 13 | 18.2 | 1.2 | 86.7 | 5.9 | 11.39 | 0.79 | 17.9 | 1.7 | 1.75 | 0.28 | 5.43 | 0.75 | 0.71 | 0.17 | 6.76 | 0.54
Output_1_16 | VAL4-4.FIN2 | 28/06/2019 (6) 17:41:26.00 | 28/06/2019 (6) | 17:41 | 44.585 | VAL4-4 | 24 | Normal | 1 | 1630000 | 86000 | 179 | 33 | 160 | 34 | 195 | 16 | 123.2 | 9 | 2.7 | 1.2 | 9530 | 600 | 259 | 15 | 33.1 | 3.1 | 2540 | 160 | 878 | 55 | 359 | 31 | 1780 | 140 | 259 | 19 | 75.4 | 4.7 | 188 | 13 | 19.3 | 1.6 | 85.9 | 2.9 | 11.97 | 0.83 | 21.6 | 1.8 | 1.96 | 0.28 | 7.7 | 1.1 | 0.81 | 0.13 | 7.39 | 0.67
Output_1_17 | VAL4-5.FIN2 | 28/06/2019 (6) 17:43:38.00 | 28/06/2019 (6) | 17:44 | 44.585 | VAL4-5 | 24 | Normal | 1 | 1650000 | 150000 | 108 | 35 | 145 | 59 | 330 | 38 | 200 | 22 | 3.69 | 0.93 | 10800 | 1000 | 202 | 17 | 35.4 | 3 | 3550 | 370 | 1181 | 98 | 467 | 45 | 2200 | 190 | 254 | 21 | 76.2 | 5.6 | 158 | 14 | 16.2 | 1.4 | 70.6 | 6.3 | 9.8 | 1 | 16.5 | 1.5 | 1.55 | 0.28 | 6.91 | 0.97 | 0.9 | 0.23 | 5.84 | 0.68
Output_1_18 | 540-1.FIN2 | 28/06/2019 (6) 18:24:57.00 | 28/06/2019 (6) | 18:25 | 44.585 | 540-1 | 24 | Normal | 1 | 2250000 | 100000 | 248 | 33 | 215 | 30 | 294 | 28 | 214 | 13 | 3.39 | 0.74 | 8710 | 650 | 197 | 13 | 33.5 | 3.5 | 2420 | 210 | 831 | 50 | 383 | 27 | 2210 | 140 | 243 | 16 | 69.3 | 3.7 | 151.5 | 9.3 | 17.6 | 1.2 | 71.1 | 5 | 8.98 | 0.73 | 19.3 | 1.9 | 1.56 | 0.23 | 7.9 | 1.1 | 0.7 | 0.11 | 3.74 | 0.38
Output_1_19 | 540-2.FIN2 | 28/06/2019 (6) 18:27:09.00 | 28/06/2019 (6) | 18:27 | 44.585 | 540-2 | 24 | Normal | 1 | 2310000 | 110000 | 338 | 37 | 241 | 33 | 334 | 27 | 221 | 16 | 4.86 | 0.79 | 8340 | 460 | 174.8 | 8.8 | 32.5 | 2.1 | 2470 | 150 | 810 | 48 | 356 | 15 | 2080 | 110 | 220.8 | 9.8 | 62.1 | 3.7 | 140.7 | 7.9 | 15.7 | 1.1 | 64.5 | 3.3 | 9.16 | 0.6 | 18.7 | 1.4 | 1.52 | 0.22 | 7.4 | 1.1 | 0.59 | 0.17 | 7.89 | 0.93
Output_1_20 | 540-3.FIN2 | 28/06/2019 (6) 18:29:20.00 | 28/06/2019 (6) | 18:29 | 44.585 | 540-3 | 24 | Normal | 1 | 2070000 | 120000 | 355 | 28 | 240 | 27 | 299 | 28 | 242 | 17 | 3.99 | 0.88 | 9250 | 500 | 207.5 | 7.1 | 34.3 | 3.3 | 2530 | 120 | 827 | 28 | 372 | 18 | 2120 | 110 | 236 | 10 | 68 | 2.6 | 159.1 | 7.4 | 18.9 | 1.1 | 71.5 | 2.4 | 10.26 | 0.69 | 21.4 | 1.4 | 1.65 | 0.28 | 8.37 | 0.98 | 0.91 | 0.15 | 4.02 | 0.5
Output_1_21 | 540-5.FIN2 | 28/06/2019 (6) 18:33:43.00 | 28/06/2019 (6) | 18:34 | 44.585 | 540-5 | 24 | Normal | 1 | 2270000 | 130000 | 224 | 33 | 236 | 32 | 319 | 22 | 248 | 22 | 5.08 | 0.88 | 8370 | 650 | 180 | 13 | 30.9 | 2.3 | 2460 | 220 | 778 | 51 | 347 | 25 | 1920 | 140 | 203 | 13 | 58.4 | 4 | 133.6 | 8.1 | 15.2 | 1.1 | 62.7 | 3.9 | 8.28 | 0.67 | 16.7 | 1.3 | 1.54 | 0.23 | 6.7 | 1.1 | 0.71 | 0.14 | 8.47 | 0.85
Output_1_22 | 335A-1.FIN2 | 28/06/2019 (6) 18:55:32.00 | 28/06/2019 (6) | 18:56 | 44.585 | 335A-1 | 24 | Normal | 1 | 1962000 | 84000 | 337 | 35 | 188 | 25 | 220 | 13 | 173 | 13 | 5.1 | 1 | 8280 | 690 | 186 | 9.8 | 30.6 | 2.3 | 2890 | 250 | 996 | 59 | 475 | 38 | 2240 | 140 | 249 | 16 | 71.5 | 4.4 | 156 | 12 | 16.5 | 1.1 | 67.6 | 4.9 | 9.46 | 0.72 | 17.9 | 1.2 | 1.5 | 0.23 | 6.75 | 0.85 | 0.63 | 0.14 | 6.81 | 0.56
Output_1_23 | 335A-2.FIN2 | 28/06/2019 (6) 18:57:43.00 | 28/06/2019 (6) | 18:58 | 44.585 | 335A-2 | 24 | Normal | 1 | 2020000 | 120000 | 532 | 71 | 160 | 34 | 331 | 20 | 326 | 33 | 9 | 1.5 | 7540 | 610 | 170 | 11 | 35 | 2.8 | 2340 | 210 | 749 | 49 | 368 | 22 | 1744 | 97 | 202 | 16 | 57.8 | 4.6 | 128 | 12 | 13.6 | 1.1 | 56 | 5 | 7.96 | 0.7 | 15.8 | 1.3 | 1.66 | 0.25 | 6.9 | 1.1 | 0.75 | 0.15 | 14.7 | 1.2
Output_1_24 | 335A-3.FIN2 | 28/06/2019 (6) 18:59:54.00 | 28/06/2019 (6) | 19:00 | 44.585 | 335A-3 | 24 | Normal | 1 | 2050000 | 120000 | 484 | 43 | 208 | 29 | 326 | 27 | 281 | 20 | 8.8 | 1.2 | 7280 | 530 | 160.2 | 9.4 | 32.6 | 2.6 | 2370 | 160 | 724 | 37 | 350 | 20 | 1720 | 100 | 189 | 10 | 55.1 | 3.6 | 115.8 | 8 | 13.44 | 0.91 | 59.2 | 5.1 | 8.09 | 0.63 | 15.8 | 1.2 | 1.49 | 0.23 | 6.6 | 1.1 | 0.66 | 0.13 | 16 | 1.1
Output_1_25 | 335B-1.FIN2 | 28/06/2019 (6) 19:02:09.00 | 28/06/2019 (6) | 19:02 | 44.585 | 335B-1 | 24 | Normal | 1 | 2120000 | 110000 | 296 | 37 | 213 | 34 | 298 | 32 | 198 | 18 | 7 | 1.3 | 7250 | 690 | 171 | 13 | 34.6 | 4 | 2040 | 190 | 681 | 51 | 322 | 24 | 1590 | 120 | 187 | 14 | 53.5 | 4.2 | 122.1 | 8.3 | 13.5 | 1.1 | 52.1 | 3.3 | 7.94 | 0.83 | 15.2 | 1.5 | 1.3 | 0.22 | 6.48 | 0.94 | 0.84 | 0.12 | 14 | 1.1
Output_1_26 | 335C-1.FIN2 | 28/06/2019 (6) 19:08:49.00 | 28/06/2019 (6) | 19:09 | 44.585 | 335C-1 | 24 | Normal | 1 | 1640000 | 220000 | 378 | 73 | 184 | 40 | 292 | 32 | 322 | 37 | 5.9 | 1.5 | 7030 | 830 | 197 | 22 | 37.5 | 6 | 2230 | 220 | 711 | 72 | 331 | 35 | 1620 | 160 | 211 | 26 | 62.8 | 6.4 | 142 | 14 | 15.7 | 1.7 | 69.2 | 7.6 | 9.7 | 1.2 | 17 | 2 | 1.72 | 0.34 | 7.3 | 1.2 | 0.86 | 0.23 | 12.2 | 1.5
Output_1_27 | 335C-2.FIN2 | 28/06/2019 (6) 19:11:01.00 | 28/06/2019 (6) | 19:11 | 44.585 | 335C-2 | 24 | Normal | 1 | 1740000 | 150000 | 424 | 48 | 218 | 37 | 394 | 39 | 311 | 24 | 9.6 | 1.8 | 8200 | 1100 | 159 | 13 | 75 | 18 | 2580 | 290 | 765 | 58 | 360 | 29 | 1790 | 160 | 195 | 17 | 56.9 | 4.8 | 116.9 | 8.4 | 12.4 | 1.2 | 55.2 | 4.7 | 7.99 | 0.93 | 14.5 | 2.1 | 1.47 | 0.28 | 6.8 | 1.5 | 0.62 | 0.17 | 13.1 | 1.2
Output_1_28 | 335C-3.FIN2 | 28/06/2019 (6) 19:13:12.00 | 28/06/2019 (6) | 19:13 | 44.585 | 335C-3 | 24 | Normal | 1 | 1560000 | 120000 | 470 | 52 | 177 | 36 | 265 | 29 | 245 | 27 | 7.4 | 1.8 | 7590 | 940 | 229 | 22 | 35.2 | 3.7 | 2520 | 260 | 810 | 70 | 371 | 34 | 1900 | 180 | 236 | 20 | 71.7 | 7 | 168 | 17 | 18.4 | 2 | 74.6 | 6.3 | 11.9 | 1.3 | 21.2 | 2.1 | 1.89 | 0.32 | 8 | 1.7 | 0.81 | 0.15 | 12.2 | 1.6
Output_1_29 | VAL2 Core-1.FIN2 | 28/06/2019 (6) 19:39:09.00 | 28/06/2019 (6) | 19:39 | 44.585 | VAL2 Core-1 | 24 | Normal | 1 | 1580000 | 170000 | 279 | 51 | 229 | 34 | 276 | 49 | 134 | 20 | 2.52 | 0.9 | 9890 | 900 | 225 | 24 | 33.3 | 4.6 | 3310 | 610 | 1010 | 130 | 433 | 58 | 2320 | 370 | 273 | 33 | 80.9 | 7.3 | 179 | 17 | 20.7 | 2.2 | 78.7 | 8 | 11.2 | 1.3 | 24.1 | 3.3 | 2.26 | 0.51 | 9.3 | 1.2 | 0.59 | 0.15 | 9.56 | 0.79
Output_1_30 | VAL2 Core-2.FIN2 | 28/06/2019 (6) 19:41:20.00 | 28/06/2019 (6) | 19:41 | 44.585 | VAL2 Core-2 | 24 | Normal | 1 | 1460000 | 110000 | 156 | 55 | 26 | 37 | 210 | 22 | 83.4 | 9 | 1.5 | 0.79 | 9970 | 1100 | 264 | 20 | 34.8 | 4.8 | 3110 | 490 | 892 | 94 | 441 | 46 | 2200 | 190 | 275 | 28 | 84 | 8.7 | 187 | 18 | 22.8 | 2 | 87.9 | 9.5 | 12.7 | 1.5 | 28.4 | 3.1 | 2.73 | 0.41 | 12.2 | 2.2 | 1.48 | 0.3 | 14 | 1.7
Output_1_31 | VAL2 Core-4.FIN2 | 28/06/2019 (6) 19:45:43.00 | 28/06/2019 (6) | 19:46 | 22.675 | VAL2 Core-4 | 12 | Normal | 1 | 1390000 | 180000 | 245 | 48 | 173 | 62 | 276 | 53 | 119 | 19 | 3 | 1.7 | 11900 | 1900 | 231 | 36 | 37.8 | 5.4 | 3440 | 490 | 1070 | 180 | 458 | 65 | 2330 | 280 | 267 | 41 | 83 | 14 | 166 | 22 | 19.8 | 2.9 | 74 | 13 | 11.5 | 2.1 | 24.3 | 5.1 | 2.23 | 0.6 | 8.8 | 2.2 | 0.88 | 0.23 | 6.7 | 1.3
Output_1_32 | VAL2 Core-5.FIN2 | 28/06/2019 (6) 19:47:54.00 | 28/06/2019 (6) | 19:48 | 44.585 | VAL2 Core-5 | 24 | Normal | 1 | 1289000 | 87000 | 247 | 50 | 197 | 46 | 342 | 32 | 143 | 15 | 4.1 | 1.1 | 13000 | 1500 | 212 | 15 | 48.2 | 5.2 | 3940 | 380 | 1280 | 120 | 571 | 59 | 2740 | 260 | 287 | 29 | 83.3 | 7.5 | 167 | 14 | 20.5 | 1.9 | 77 | 6 | 10.9 | 1.1 | 24 | 2.3 | 1.88 | 0.32 | 8.8 | 1.2 | 0.81 | 0.23 | 6.41 | 0.95
Output_1_33 | RHM3-1.FIN2 | 28/06/2019 (6) 20:00:10.00 | 28/06/2019 (6) | 20:00 | 44.585 | RHM3-1 | 24 | Normal | 1 | 1940000 | 110000 | 216 | 29 | 229 | 33 | 315 | 25 | 163 | 14 | 3.7 | 1.2 | 8220 | 570 | 144.4 | 7.5 | 30.5 | 3 | 2570 | 230 | 880 | 51 | 384 | 22 | 1820 | 110 | 183 | 14 | 56 | 3.9 | 118.2 | 7.6 | 14.4 | 0.94 | 55.1 | 4 | 7.23 | 0.61 | 17.1 | 1.7 | 1.31 | 0.22 | 5.5 | 1.1 | 0.405 | 0.081 | 3.62 | 0.42
Output_1_34 | RHM3-2.FIN2 | 28/06/2019 (6) 20:02:21.00 | 28/06/2019 (6) | 20:02 | 44.585 | RHM3-2 | 24 | Normal | 1 | 2300000 | 410000 | 252 | 45 | 208 | 41 | 324 | 50 | 195 | 27 | 3.13 | 0.84 | 9200 | 1100 | 139 | 16 | 32.8 | 3.9 | 2750 | 380 | 950 | 120 | 411 | 51 | 1950 | 220 | 182 | 21 | 53.7 | 6.8 | 117 | 16 | 13 | 1.7 | 49.8 | 6.4 | 7.1 | 1 | 14.3 | 1.9 | 1.21 | 0.24 | 5.22 | 0.82 | 0.49 | 0.14 | 3.99 | 0.45
Output_1_35 | RHM3-3.FIN2 | 28/06/2019 (6) 20:04:33.00 | 28/06/2019 (6) | 20:05 | 44.585 | RHM3-3 | 24 | Normal | 1 | 1880000 | 280000 | 211 | 39 | 136 | 52 | 299 | 37 | 130 | 19 | 3.1 | 1 | 10200 | 1500 | 164 | 19 | 41.8 | 4.7 | 3060 | 410 | 1200 | 150 | 474 | 56 | 2330 | 250 | 220 | 27 | 61.5 | 7.3 | 137 | 17 | 15.9 | 1.9 | 59.6 | 6.7 | 8.6 | 1 | 17.7 | 3 | 1.46 | 0.32 | 7.9 | 1.8 | 0.62 | 0.17 | 6.6 | 1
Output_1_36 | RHM3-4.FIN2 | 28/06/2019 (6) 20:06:57.60 | 28/06/2019 (6) | 20:07 | 31.987 | RHM3-4 | 17 | Normal | 1 | 1870000 | 250000 | 251 | 35 | 153 | 51 | 331 | 44 | 189 | 27 | 5.2 | 1.3 | 8650 | 960 | 151 | 16 | 44.4 | 9.5 | 2850 | 280 | 910 | 110 | 375 | 40 | 1920 | 190 | 192 | 21 | 58.7 | 6.6 | 127 | 14 | 14.3 | 1.6 | 54.2 | 6.2 | 7.29 | 0.73 | 14.5 | 2.4 | 1.4 | 0.3 | 6.2 | 1.4 | 0.53 | 0.19 | 3.96 | 0.65
Output_1_37 | RHM3-5.FIN2 | 28/06/2019 (6) 20:08:56.00 | 28/06/2019 (6) | 20:09 | 44.585 | RHM3-5 | 24 | Normal | 1 | 1791000 | 80000 | 118 | 17 | 68 | 35 | 376 | 32 | 200 | 11 | 4.38 | 0.78 | 8910 | 610 | 141.7 | 7.5 | 29.9 | 2.5 | 2750 | 190 | 869 | 35 | 380 | 19 | 1895 | 90 | 186 | 10 | 55.3 | 3.5 | 118.9 | 7.7 | 13.55 | 0.81 | 54.2 | 2.3 | 7.45 | 0.63 | 13.8 | 1.4 | 1.49 | 0.22 | 5.2 | 0.85 | 0.59 | 0.15 | 3.58 | 0.39
Output_1_38 | VAL3-1.FIN2 | 28/06/2019 (6) 20:30:14.00 | 28/06/2019 (6) | 20:30 | 44.585 | VAL3-1 | 24 | Normal | 1 | 1710000 | 140000 | 180 | 32 | 235 | 56 | 224 | 32 | 98 | 12 | 2.98 | 0.92 | 10820 | 810 | 217 | 15 | 34.2 | 3.9 | 3020 | 520 | 870 | 120 | 403 | 50 | 2000 | 260 | 248 | 30 | 74.5 | 8.9 | 170 | 22 | 15.2 | 1.8 | 75.9 | 9.7 | 9.9 | 1.3 | 16.7 | 2.5 | 1.92 | 0.37 | 7.2 | 1.3 | 0.7 | 0.21 | 4.97 | 0.7
Output_1_39 | VAL3-2.FIN2 | 28/06/2019 (6) 20:32:25.00 | 28/06/2019 (6) | 20:32 | 44.585 | VAL3-2 | 24 | Normal | 1 | 1650000 | 140000 | 265 | 35 | 225 | 45 | 175 | 21 | 85 | 9.1 | 3.6 | 1.2 | 10180 | 950 | 239 | 19 | 29.5 | 3.6 | 2840 | 260 | 757 | 73 | 382 | 29 | 1880 | 170 | 254 | 21 | 80.1 | 6.5 | 171 | 13 | 16.7 | 1.5 | 88.4 | 7.6 | 11.16 | 0.91 | 19.4 | 1.9 | 1.78 | 0.27 | 6.8 | 1.3 | 0.75 | 0.2 | 6.8 | 1.1
Output_1_40 | VAL3-3.FIN2 | 28/06/2019 (6) 20:34:36.00 | 28/06/2019 (6) | 20:35 | 44.585 | VAL3-3 | 24 | Normal | 1 | 1720000 | 250000 | 249 | 58 | 263 | 73 | 183 | 31 | 90 | 14 | 1.84 | 0.84 | 10200 | 1400 | 230 | 30 | 27.4 | 5 | 2720 | 450 | 687 | 94 | 348 | 50 | 1710 | 230 | 244 | 33 | 80 | 11 | 176 | 26 | 16.8 | 2.5 | 84 | 13 | 12 | 2 | 19.3 | 3.2 | 1.99 | 0.43 | 6.1 | 1.2 | 0.6 | 0.26 | 6.6 | 1.1
Output_1_41 | VAL3-4.FIN2 | 28/06/2019 (6) 20:36:47.00 | 28/06/2019 (6) | 20:37 | 44.585 | VAL3-4 | 24 | Normal | 1 | 1600000 | 110000 | 155 | 36 | 145 | 47 | 315 | 30 | 180 | 23 | 3.51 | 0.93 | 11200 | 1400 | 210 | 16 | 58.7 | 9.5 | 3240 | 320 | 992 | 80 | 419 | 28 | 2140 | 160 | 264 | 22 | 77.7 | 6.8 | 171 | 11 | 15.3 | 1.2 | 74.7 | 6.2 | 10.1 | 0.8 | 16.4 | 1.8 | 1.78 | 0.25 | 7.5 | 1.3 | 0.71 | 0.15 | 6.67 | 0.74
Output_1_42 | VAL3-5.FIN2 | 28/06/2019 (6) 20:38:59.00 | 28/06/2019 (6) | 20:39 | 44.585 | VAL3-5 | 24 | Normal | 1 | 1720000 | 240000 | 202 | 32 | 224 | 41 | 220 | 31 | 102 | 15 | 2.65 | 0.94 | 9100 | 1500 | 189 | 22 | 32.7 | 5.6 | 2810 | 410 | 790 | 90 | 390 | 50 | 1880 | 260 | 241 | 32 | 74.1 | 9.6 | 162 | 22 | 14.4 | 2.1 | 70.7 | 9.8 | 9.2 | 1.2 | 15.3 | 2.4 | 1.77 | 0.38 | 5.2 | 1 | 0.83 | 0.29 | 6.7 | 1.1
Output_1_43 | RHM9-1.FIN2 | 28/06/2019 (6) 20:55:03.99 | 28/06/2019 (6) | 20:55 | 18.178 | RHM9-1 | 10 | Normal | 1 | 2310000 | 350000 | 670 | 340 | 160 | 48 | 318 | 50 | 202 | 80 | 1.75 | 0.53 | 11000 | 1300 | 178 | 15 | 43.6 | 8.5 | 2900 | 390 | 1060 | 150 | 395 | 54 | 1970 | 290 | 238 | 31 | 70.7 | 9.8 | 153 | 22 | 13.5 | 1.5 | 68 | 10 | 8 | 1.2 | 11.7 | 1.5 | 1.46 | 0.28 | 4.75 | 0.66 | 0.75 | 0.26 | 2.64 | 0.34
Output_1_44 | RHM9-3.FIN2 | 28/06/2019 (6) 20:59:00.99 | 28/06/2019 (6) | 20:59 | 19.388 | RHM9-3 | 10 | Normal | 1 | 2160000 | 230000 | 270 | 43 | 272 | 58 | 259 | 39 | 280 | 100 | 2.8 | 1.2 | 11500 | 1700 | 507 | 60 | 82 | 25 | 2620 | 400 | 910 | 96 | 365 | 44 | 1790 | 200 | 254 | 38 | 76.2 | 9.3 | 185 | 15 | 20.5 | 2.8 | 127 | 14 | 20.9 | 2.2 | 46.7 | 7 | 4.66 | 0.56 | 21.8 | 2.6 | 2.44 | 0.44 | 24.7 | 4
Output_1_45 | RHM9-4.FIN2 | 28/06/2019 (6) 21:01:12.00 | 28/06/2019 (6) | 21:01 | 21.579 | RHM9-4 | 12 | Normal | 1 | 1830000 | 250000 | 490 | 150 | 248 | 85 | 246 | 36 | 343 | 84 | 1.8 | 0.86 | 10300 | 1500 | 619 | 96 | 67 | 15 | 2610 | 350 | 920 | 110 | 369 | 43 | 1820 | 270 | 271 | 32 | 84 | 15 | 222 | 30 | 23.9 | 3.9 | 148 | 19 | 25.9 | 4.6 | 59 | 8.9 | 7.3 | 1.4 | 30.9 | 5.9 | 3.9 | 1.1 | 30.6 | 5.9
Output_1_46 | RHM9-5.FIN2 | 28/06/2019 (6) 21:03:23.00 | 28/06/2019 (6) | 21:03 | 14.459 | RHM9-5 | 8 | Normal | 1 | 1800000 | 510000 | 166 | 59 | 106 | 48 | 284 | 90 | 163 | 80 | 2.3 | 1 | 10400 | 2600 | 306 | 82 | 52 | 26 | 2720 | 930 | 970 | 270 | 440 | 180 | 2090 | 710 | 260 | 69 | 88 | 18 | 177 | 37 | 18.9 | 5 | 92 | 21 | 14.3 | 3.2 | 29.9 | 6.1 | 2.87 | 0.97 | 10.7 | 3.5 | 1.29 | 0.34 | 10.5 | 2.7
Output_1_47 | 337A-1.FIN2 | 28/06/2019 (6) 21:33:02.99 | 28/06/2019 (6) | 21:33 | 34.725 | 337A-1 | 19 | Normal | 1 | 2360000 | 180000 | 291 | 46 | 211 | 35 | 336 | 28 | 267 | 33 | 7.8 | 1.2 | 8620 | 500 | 194 | 11 | 35.7 | 4 | 3230 | 320 | 1146 | 68 | 432 | 32 | 2180 | 160 | 235 | 14 | 68.7 | 4.5 | 159 | 11 | 20.8 | 1.6 | 71 | 3.9 | 10.31 | 0.74 | 18.2 | 1.3 | 1.74 | 0.28 | 6.98 | 0.88 | 0.79 | 0.19 | 16.9 | 2.2
Output_1_48 | 337A-2.FIN2 | 28/06/2019 (6) 21:35:14.99 | 28/06/2019 (6) | 21:35 | 31.987 | 337A-2 | 17 | Normal | 1 | 2130000 | 190000 | 348 | 24 | 193 | 35 | 303 | 30 | 226 | 25 | 5.7 | 1.7 | 8770 | 980 | 180 | 21 | 37.2 | 3.1 | 3380 | 410 | 918 | 93 | 401 | 40 | 1990 | 230 | 226 | 26 | 63.8 | 6.4 | 155 | 13 | 18.2 | 1.4 | 68.2 | 5.1 | 10 | 1.2 | 17.6 | 3 | 1.56 | 0.28 | 6.25 | 0.71 | 0.74 | 0.12 | 10.4 | 1.4
Output_1_49 | 337A-3.FIN2 | 28/06/2019 (6) 21:37:27.00 | 28/06/2019 (6) | 21:37 | 44.585 | 337A-3 | 24 | Normal | 1 | 2090000 | 110000 | 241 | 33 | 175 | 41 | 338 | 21 | 214 | 13 | 6.1 | 1.4 | 8020 | 490 | 153.7 | 7.4 | 26.1 | 1.8 | 2850 | 150 | 819 | 42 | 344 | 18 | 1777 | 92 | 200 | 11 | 58.7 | 3.4 | 132.7 | 7.4 | 16.5 | 1.3 | 58 | 3.3 | 8.32 | 0.6 | 16.5 | 1.8 | 1.46 | 0.26 | 6.33 | 0.88 | 0.59 | 0.13 | 5.66 | 0.36
Output_1_50 | 337B-1.FIN2 | 28/06/2019 (6) 21:39:41.00 | 28/06/2019 (6) | 21:40 | 44.585 | 337B-1 | 24 | Normal | 1 | 1850000 | 140000 | 299 | 38 | 209 | 28 | 352 | 35 | 293 | 27 | 5.4 | 1.2 | 7950 | 790 | 180 | 14 | 33.3 | 3.2 | 3300 | 310 | 1056 | 80 | 423 | 32 | 2170 | 160 | 231 | 17 | 68 | 5.1 | 159 | 15 | 19.4 | 1.7 | 66.5 | 5.6 | 9.74 | 0.85 | 19.5 | 2.1 | 1.6 | 0.23 | 6.2 | 1.2 | 0.82 | 0.22 | 16.2 | 2.7
Output_1_51 | 337B-2.FIN2 | 28/06/2019 (6) 21:41:52.00 | 28/06/2019 (6) | 21:42 | 44.585 | 337B-2 | 24 | Normal | 1 | 1990000 | 190000 | 167 | 36 | 139 | 39 | 243 | 20 | 131 | 14 | 2.89 | 0.68 | 8780 | 920 | 147 | 10 | 29.6 | 2.1 | 3150 | 310 | 893 | 74 | 357 | 32 | 1810 | 150 | 196 | 18 | 57.4 | 4.9 | 133 | 11 | 15.3 | 1.3 | 58.6 | 4.8 | 7.54 | 0.59 | 15.2 | 1.5 | 1.39 | 0.21 | 5.21 | 0.98 | 0.63 | 0.15 | 2.64 | 0.46
Output_1_52 | 337B-3.FIN2 | 28/06/2019 (6) 21:44:04.00 | 28/06/2019 (6) | 21:44 | 44.585 | 337B-3 | 24 | Normal | 1 | 1761000 | 76000 | 340 | 34 | 211 | 46 | 415 | 26 | 396 | 21 | 8.3 | 1.5 | 8390 | 550 | 193 | 10 | 38.4 | 2.2 | 3580 | 250 | 1026 | 54 | 440 | 26 | 2217 | 92 | 235 | 14 | 69.8 | 4.4 | 158.8 | 8.3 | 20.1 | 1.5 | 70.9 | 5.1 | 9.65 | 0.73 | 18.9 | 1.7 | 1.53 | 0.22 | 6.6 | 1.1 | 0.77 | 0.17 | 17.3 | 1.2