## Sheet1
Reading No | Altarstone and altarstone "chips" analsyes | Time | Type | Duration | Units | Sequence | Flags | SAMPLE | LOCATION | INSPECTOR | MISC | NOTE | User Login | Mo | Zr | Sr | U | Rb | Th | Pb | Au | Se | As | Hg | Zn | W | Cu | Ni | Co | Fe | Mn | Cr | V | Ti | Sc | Ca | K | S | Ba | Cs | Te | Sb | Sn | Cd | Ag | Pd | Nb | Bi | Re | Ta | Hf | Al | P | Si | Cl | Mg
94 | Newberry Obsidian | 2021-07-05 | TestAll Geo | 100 | ppm | Final | -8mm | [5 empty] | N Pearce | Mo: 6.62; Zr: 387.84; Sr: 45.96; U: 8.35; Rb: 107.5; Th: 9.36; Pb: 16.14; Zn: 36.49; Ni: 32.54; Fe: 14913.74; Mn: 400.11; Cr: 28.23; Ti: 1196.44; Sc: 12130.92; Ca: 4842.21; K: 29607.01; S: 95.76; Ba: 881.53; Cd: 78511.13; Pd: 2.77; Nb: 22.67; Al: 63234.71; P: 325.96; Si: 348754.84; Cl: 774.97
95 | Newberry Obsidian | 2021-07-05 | TestAll Geo | 100 | ppm | Final | -8mm | [5 empty] | N Pearce | Mo: 8.93; Zr: 379.54; Sr: 45.96; Rb: 101.9; Th: 9.85; Pb: 17.74; Zn: 43.17; Ni: 23.83; Fe: 14719.21; Mn: 353.26; Cr: 26.85; Ti: 1196.58; Sc: 12133.71; Ca: 4791.56; K: 29713.95; S: 93.67; Ba: 732.16; Cd: 78538.63; Pd: 2.86; Nb: 23.37; Bi: 11.76; Al: 62238.45; P: 411.61; Si: 346644.44; Cl: 741.15
96 | Newberry Obsidian | 2021-07-05 | TestAll Geo | 100 | ppm | Final | -8mm | [5 empty] | N Pearce | 9.13 | 395.82 | 50.67 | 9.84 | 103.65 | 11.56 | 16.82 |  |  |  |  | 42.88 |  |  | 42.61 |  | 14872.3 | 500.03 | 25.03 |  | 1231.68 | 12110.75 | 4875.53 | 30943.9 | 97.57 | 919.79 |  |  |  |  | 78378.61 |  | 2.99 | 24.4 | 14.46 |  |  |  | 67704.29 | 421.12 | 362848.5 | 753.54
97 | Newberry Obsidian | 2021-07-05 | TestAll Geo | 100 | ppm | Final | -8mm | [5 empty] | N Pearce | 6.49 | 394.76 | 50.12 | 10.34 | 106.07 | 11.49 | 18.07 |  |  | 5.24 |  | 42.06 |  |  | 50.3 |  | 15366.98 | 453.8 |  |  | 1257.67 | 12101.88 | 5051.89 | 30997.85 | 97.27 | 941.88 |  |  |  |  | 78319.84 |  | 2.9 | 23.68 | 11.91 |  |  |  | 70553.71 | 407.32 | 367172.81 | 748.73 | 7249.4
98 | Newberry Obsidian | 2021-07-05 | TestAll Geo | 100 | ppm | Final | -8mm | [5 empty] | N Pearce | 8.61 | 387.31 | 48.54 | 6.88 | 108.12 | 11.57 | 17.62 | 4.53 |  |  |  | 44.83 |  |  |  |  | 14732.01 | 465.5 | 29.59 |  | 1223.09 | 12130.51 | 4815.55 | 29725.67 | 95.26 | 853.15 |  |  |  |  | 78510.27 |  | 2.88 | 23.56 | 11.67 |  |  |  | 61108.78 | 417.27 | 349745.34 | 786.87
| Average | [12 empty] | 7.956 | 389.054 | 48.25 | 8.8525 | 105.448 | 10.766 | 17.278 | 4.53 |  | 5.24 |  | 41.886 |  |  | 37.32 |  | 14920.848 | 434.54 | 27.425 |  | 1221.092 | 12121.554 | 4875.348 | 30197.676 | 95.906 | 865.702 |  |  |  |  | 78451.696 |  | 2.88 | 23.536 | 12.45 |  |  |  | 64967.988 | 396.656 | 355033.186 | 761.052 | 7249.4
| Std Dev | [12 empty] | 1.2931 | 6.5835 | 2.2319 | 1.5632 | 2.6248 | 1.0744 | 0.78461 |  |  |  |  | 3.1801 |  |  | 11.5657 |  | 263.5142 | 57.9014 | 1.9495 |  | 25.8002 | 14.3134 | 103.5151 | 707.6008 | 1.5865 | 82.1129 |  |  |  |  | 96.4992 |  | 0.079057 | 0.62155 | 1.3437 |  |  |  | 4001.1172 | 39.8707 | 9303.22 | 19.1353 | #DIV/0!
| CV% | [12 empty] | 16.25% | 1.692% | 4.626% | 17.66% | 2.489% | 9.979% | 4.541% |  |  |  |  | 7.592% |  |  | 30.99% |  | 1.766% | 13.32% | 7.109% |  | 2.113% | 0.1181% | 2.123% | 2.343% | 1.654% | 9.485% |  |  |  |  | 0.123% |  | 2.745% | 2.641% | 10.79% |  |  |  | 6.159% | 10.05% | 2.62% | 2.514% | #DIV/0!
Reading No | ORS analyses | Time | Type | Duration | Units | Sequence | Flags |  | LOCATION | INSPECTOR | MISC | NOTE | User Login | Mo | Zr | Sr | U | Rb | Th | Pb | Au | Se | As | Hg | Zn | W | Cu | Ni | Co | Fe | Mn | Cr | V | Ti | Sc | Ca | K | S | Ba | Cs | Te | Sb | Sn | Cd | Ag | Pd | Nb | Bi | Re | Ta | Hf | Al | P | Si | Cl | Mg
249 | Newberry Obsidian.06 | 2021-07-07 | TestAll Geo | 100 | ppm | Final | -8mm | [5 empty] | N Pearce | 5.49 | 396.4 | 49.75 | 12.58 | 104.04 | 13.29 | 22.51 |  |  | 6.96 |  | 47.45 |  |  | 44.91 |  | 15051.12 | 456.01 | 21.53 | 34.63 | 1282.23 | 12109.19 | 5083.51 | 30636.27 | 97.91 | 964.97 |  |  |  |  | 78365.63 |  | 2.96 | 24.22 | 14.2 |  |  |  | 74169.65 | 560.56 | 373288.31 | 619.27
250 | Newberry Obsidian.07 | 2021-07-07 | TestAll Geo | 100 | ppm | Final | -8mm | [5 empty] | N Pearce | 7.11 | 396.64 | 48.48 | 11.33 | 104.69 | 12.41 | 24.27 |  |  | 8.16 |  | 52.46 |  | 20.69 | 56.13 |  | 15004.56 | 475.67 | 21.04 |  | 1259.73 | 12108.86 | 5150.04 | 30613.68 | 97.82 | 971.56 |  |  |  |  | 78363.73 |  | 2.84 | 23.18 | 12.06 |  |  |  | 78177.63 | 694.93 | 382818.06 | 651.83
251 | Newberry Obsidian.08 | 2021-07-07 | TestAll Geo | 100 | ppm | Final | -8mm | [5 empty] | N Pearce | 7.19 | 400.43 | 48.82 | 9.8 | 106.43 | 11.55 | 26.72 |  |  | 6.19 |  | 51.51 |  |  | 34 |  | 15308.8 | 509.76 | 22.04 |  | 1243.96 | 12099.65 | 5297.42 | 30898.1 | 98.5 | 888.81 |  |  |  |  | 78308.77 |  | 2.93 | 23.91 | 13.99 |  |  |  | 72125.02 | 568.8 | 374572.56 | 678.88
252 | Newberry Obsidian.09 | 2021-07-07 | TestAll Geo | 100 | ppm | Final | -8mm | [5 empty] | N Pearce | 5.39 | 380.72 | 46.97 | 11.37 | 100.63 | 9.51 | 24.6 |  |  | 5.74 |  | 44.24 |  | 17.52 | 34.1 | 86.19 | 14217.66 | 412.12 | 24.72 |  | 1236.31 | 12140.24 | 4857.6 | 29477.78 | 93.53 | 796.23 |  |  |  |  | 78576.84 |  | 2.75 | 22.48 | 7.85 |  |  |  | 67386.1 | 708.23 | 359467.09 | 716.47 | 5839.26
253 | Newberry Obsidian.10 | 2021-07-07 | TestAll Geo | 100 | ppm | Final | -8mm | [5 empty] | N Pearce | 8.04 | 372.11 | 44.64 | 10.45 | 99.15 | 10.6 | 21.84 |  |  | 5.77 |  | 50.91 |  |  |  |  | 14180.33 | 355.76 | 27.07 |  | 1168.48 | 12144.62 | 4970.72 | 29266.68 | 91.67 | 702.92 |  |  |  |  | 78611.02 |  | 2.66 | 21.72 | 9.35 |  |  |  | 59192.73 | 733.4 | 338521.56 | 651.38
| Average | [12 empty] | 6.644 | 389.26 | 47.732 | 11.106 | 102.988 | 11.472 | 23.988 |  |  | 6.564 |  | 49.314 |  |  | 42.285 |  | 14752.494 | 441.864 | 23.28 |  | 1238.142 | 12120.512 | 5071.858 | 30178.502 | 95.886 | 864.898 |  |  |  |  | 78445.198 |  | 2.828 | 23.102 | 11.49 |  |  |  | 70210.226 | 653.184 | 365733.516 | 663.566 | 5839.26
| Std Dev | [12 empty] | 1.1585 | 12.2195 | 1.9973 | 1.0522 | 3.0059 | 1.4833 | 1.9181 |  |  | 1.019 |  | 3.4091 |  |  | 10.5548 |  | 518.5581 | 59.6897 | 2.5522 |  | 42.7194 | 20.4302 | 168.2719 | 748.1951 | 3.082 | 115.0165 |  |  |  |  | 138.2093 |  | 0.12478 | 1.0254 | 2.8173 |  |  |  | 7283.2669 | 82.0172 | 17369.8294 | 36.3377 | #DIV/0!
| CV% | [12 empty] | 17.44% | 3.139% | 4.184% | 9.474% | 2.919% | 12.93% | 7.996% |  |  | 15.52% |  | 6.913% |  |  | 24.96% |  | 3.515% | 13.51% | 10.96% |  | 3.45% | 0.1686% | 3.318% | 2.479% | 3.214% | 13.3% |  |  |  |  | 0.1762% |  | 4.412% | 4.439% | 24.52% |  |  |  | 10.37% | 12.56% | 4.749% | 5.476% | #DIV/0!
Reading No | sample |  |  |  | Units | Sequence | Flags | SAMPLE | LOCATION | INSPECTOR | MISC | NOTE | User Login | Mo | Zr | Sr | U | Rb | Th | Pb | Au | Se | As | Hg | Zn | W | Cu | Ni | Co | Fe | Mn | Cr | V | Ti | Sc | Ca | K | S | Ba | Cs | Te | Sb | Sn | Cd | Ag | Pd | Nb | Bi | Re | Ta | Hf | Al | P | Si | Cl | Mg
| Average ALL pXRF Newberry Obsidian analyses | ppm | [11 empty] | 7.2839 | 390.3969 | 48.9569 | 9.31 | 103.8624 | 11.7631 | 19.4765 | 4.6167 |  | 5.701 | 8.3275 | 45.2615 | 33.99 | 19.6674 | 50.1952 | 83.8367 | 14757.195 | 448.7193 | 26.8015 | 31.735 | 1354.2813 | 9329.7077 | 4970.3817 | 30121.2293 | 139.9743 | 942.7157 |  |  |  |  | 78472.9961 |  | 2.8398 | 23.315 | 12.5473 |  |  |  | 67798.9943 | 480.7832 | 362013.4713 | 679.3277 | 7839.27
| Standard Deviation | ppm | [11 empty] | 1.3624 | 8.573 | 1.7126 | 1.5095 | 2.7481 | 1.369 | 3.1474 |  |  | 1.0965 | 1.4148 | 4.1128 | 1.8664 | 2.3906 | 11.3817 | 9.1401 | 358.526 | 32.2737 | 3.2505 | 2.7648 | 107.4423 | 5304.3538 | 312.3096 | 863.4316 | 49.2918 | 72.8604 |  |  |  |  | 107.6425 |  | 0.11629 | 0.98405 | 2.1051 |  |  |  | 5956.1656 | 125.3749 | 14532.809 | 66.9304 | 1794.0237
| CV% | [12 empty] | 18.7% | 2.196% | 3.498% | 16.21% | 2.646% | 11.64% | 16.16% |  |  | 19.23% | 16.99% | 9.087% | 5.491% | 12.16% | 22.67% | 10.9% | 2.429% | 7.192% | 12.13% | 8.712% | 7.934% | 56.85% | 6.283% | 2.867% | 35.21% | 7.729% |  |  |  |  | 0.1372% |  | 4.095% | 4.221% | 16.78% |  |  |  | 8.785% | 26.08% | 4.014% | 9.852% | 22.89%
| Analyses above LoD, total no. of analyses performed = | 54 | [11 empty] | 54 | 54 | 54 | 45 | 54 | 54 | 54 | 3 | 0 | 30 | 4 | 54 | 4 | 27 | 52 | 3 | 54 | 54 | 52 | 8 | 54 | 13 | 54 | 54 | 21 | 54 | 0 | 0 | 0 | 0 | 54 | 0 | 54 | 54 | 52 | 0 | 0 | 0 | 30 | 25 | 30 | 30 | 6
Published Big Obsidian Flow Anlasyes
| Higgins 1973 (average, n=4) | ppm | [11 empty] | Zr: 390; Sr: 64; Rb: 150; Pb: <20; Cu: 9; Ni: <4; Fe: 16317.621; Mn: 438.8833; Cr: 2; V: <10; Ti: 1273.9375; Sc: 10; Ca: 7114.25; K: 33226.875; Ba: 870; Cs: 2; Al: 75395.725; P: 305.6338; Si: 339298.85; Mg: 1175.85
| Laidey Mackay 1971 (average n=66, whole flow) | ppm | [11 empty] | U: 4.9; Rb: 153; Th: 12.1; Zn: 133; Fe: 16995.42; Mn: 495.68; Ti: 1438.8; Ca: 6077.5; K: 32092.5; Si: 336333.4; Mg: 988.92
| Linnemann 1990 (BOF flow front sample) | ppm | [11 empty] | Zr: 327; Sr: 54; Rb: 114; Zn: 66; Cu: 7; Ni: n.d.; Fe: 14547.52; Mn: 464.7; Ti: 1318.9; Ca: 5863; K: 37950; Ba: 903; Al: 77392.7; P: 130.9859; Si: 336520.2; Mg: 1206
[30 empty] | Fe2O3T | MnO |  |  | TiO2 |  | CaO | K2O | [14 empty] | Al2O3 | P2O5 | SiO2 |  | MgO
| Higgins 1973 (average, n=4) | wt% oxide | [11 empty] | Fe: 2.3331; Mn: 0.056667; Ti: 0.2125; Ca: 0.995; K: 4.0275; Al: 14.2525; P: 0.07; Si: 72.655; Mg: 0.195
| Laidey Mackay 1971 (average n=66, whole flow) | wt% oxide | [11 empty] | Fe: 2.43; Mn: 0.064; Ti: 0.24; Ca: 0.85; K: 3.89; Al: 14.61; Si: 72.02; Mg: 0.164
| Linnemann 1990 (BOF flow front sample) | wt% oxide | [11 empty] | Fe: 2.08; Mn: 0.06; Ti: 0.22; Ca: 0.82; K: 4.6; Al: 14.63; P: 0.03; Si: 72.06; Mg: 0.2
Comparisons pXRF/ published analyses | [14 empty] | Zr | Sr | U | Rb | Th | Pb | Au | Se | As | Hg | Zn | W | Cu | Ni | Co | Fe | Mn | Cr | V | Ti | Sc | Ca | K | S | Ba | Cs | Te | Sb | Sn | Cd | Ag | Pd | Nb | Bi | Re | Ta | Hf | Al | P | Si | Cl | Mg
| Higgins 1973 (average, n=4) | [13 empty] | Zr: 1.001; Sr: 0.76495; Rb: 0.69242; 2.08 Fe: 0.90437; 0.06 Mn: 1.0224; 0.22 Ti: 1.0631; 0.82 Ca: 0.69865; 4.6 K: 0.90653; 4.6 Ba: 1.0836; 14.63 Al: 0.89924; 0.03 P: 1.5731; 72.06 Si: 1.0669; 0.2 Mg: 6.6669
| Laidey Mackay 1971 (average n=66, whole flow) | [13 empty] | U: 1.9; Rb: 0.67884; Th: 0.97216; Zn: 0.34031; 2.08 Fe: 0.8683; 0.06 Mn: 0.90526; 0.22 Ti: 0.94126; 0.82 Ca: 0.81783; 4.6 K: 0.93858; 72.06 Si: 1.0764; 0.2 Mg: 7.9271
| Linnemann 1990 (BOF flow front sample) | [13 empty] | Zr: 1.1939; Sr: 0.90661; Rb: 0.91107; Zn: 0.68578; 2.08 Fe: 1.0144; 0.06 Mn: 0.96561; 0.22 Ti: 1.0268; 0.82 Ca: 0.84775; 4.6 K: 0.79371; 4.6 Ba: 1.044; 14.63 Al: 0.87604; 0.03 P: 3.6705; 72.06 Si: 1.0758; 0.2 Mg: 6.5002
References
Higgins, M.W. (1973) Petrology of Newberry volcano, central Oregon. Geological Society of America Bulletin, 84, 455–488.
Laidley, R.A. and McKay, D.S. (1971) Geochemical examination of obsidians from Newberry Caldera, Oregon. Contributions to Mineralogy and Petrology, 30, 336–342.
Linneman, S.R., 1990. The petrologic evolution of the Holocene magmatic system of Newberry Volcano, central Oregon. PhD thesis, University of Wyoming, Laramie, 312pp.