Supplemental Table 1. Prior Data for Achievable Degree of Tissue Shrinkage and Fitted Distributions

| Application | Investigators (reference) | Length / volume reduction | Fitted distribution |
| --- | --- | --- | --- |
| Glenohumeral joint capsule | Obrzut et al. (19) | 13.7% (SD: 2.6%) | Beta (5, 31.5) |
| Porcine tongue | Powell et al. (21) | 26.3% | Beta (11, 31) |
| Porcine endopelvic fascia | Dmochowski and Galen (9) | 35% [25%, 50%] | Beta (32, 58) |

Note. This table is also available online at http://www.journals.cambridge.org/jid_thc.

Supplemental  Table 2. Overview of Functional Relationships Used in the Model

| Parameter | Functional relationship | Source |
| --- | --- | --- |
| Actual degree of tissue shrinkage (ATS) | ATS = TS × EE | Engineering model |
| Reduction of appendage orifice area (RAA) | RAA = 1 – (1 – ATS)2 | Engineering model |
| Clot formation and embolization with procedure (CEP) | CEP = CENP × (1- RAA) × 0.8 × AA | Engineering model |
| Afib-related stroke with procedure (ASP) | ASP = CEP × SGE | Engineering model |
| A-fib-related stroke without procedure (ASNP) | ASNP = CENP × SGE | Engineering model |

Note. This table is also available online at http://www.journals.cambridge.org/jid_thc.

EE, electrode effectiveness.

Supplemental Table 3. Overview of Data and Distributions Used in the Illustrative Model of the AtrialShaper

| Parameter | Distribution | Mean | Source |
| --- | --- | --- | --- |
| Achievable degree of tissue shrinkage (TS) (base value – prior) | Beta (18.20, 41.90) | 0.303 | (9;19;21) – aggregated with PRAMDA framework |
| Electrode effectiveness (EE) | Beta (31.50, 6.70) | 0.825 | Engineering model, bench testing |
| Clot formation and embolization without procedure (CENP) | Beta (5, 70) | 0.0667 | (3) |
| Stroke given embolization (SGE) | Normal (0.80, 0.03) | 0.80 | Engineering model, expert opinion |
| Appendage anatomy (AA) factor | Constant | 1.0 (overall patient population) 0.8 (patients with small appendage size) | Engineering model |

Note. This table is also available online at http://www.journals.cambridge.org/jid_thc.

PRAMDA, Probability Aggregation for Medical Device Assessment.

Supplemental  Table 4. Input and Output Parameters for Base Case

| Input Parameters |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Parameter | Distribution | Parameter |  | Distribution |  |  | Parameter | Distribution |
| TS | ~ Beta (18.2, 41.9) | EE |  | ~ Beta (31.5, 6.7) |  |  | CENP | ~ Beta (5, 70) |
| SGE | ~ Normal (0.8, 0.03) | AA |  | 1 |  |  |  |  |
| Output Parameters (MCMC simulation, 100,000 trials) |  |  |  |  |  |  |  |  |
| Parameter |  |  | Mean |  | SD | Fitted distribution |  |  |
| Afib-related stroke with procedure (ASP) |  |  | 0.024 |  | 0.011 |  |  |  |
| Afib-related stroke without procedure (ASNP) |  |  | 0.053 |  | 0.023 |  |  |  |
| Effect measure: percent difference (ε%) |  |  | - 0.548 |  | 0.062 | ~ Beta (46, 38) |  |  |

Note. This table is also available online at http://www.journals.cambridge.org/jid_thc.

TS, tissue shrinkage; EE, electrode effectiveness; SGE, stroke given embolization; AA, appendage anatomy factor; CENP, clot formation and embolization without procedure.

Supplemental Table 5. Incorporated Decisions with Respective Alternatives, Affected Uncertainty, and Distributional Shapes

| Decision | Index | Alternative | Description of alternative | Affected uncertainty | Distribution of uncertainty |
| --- | --- | --- | --- | --- | --- |
| Design decision | i | i = 1 | Electrode 1 (base-case design) | EE | Beta (31.5, 6.7) |
|  |  | i = 2 | Electrode 2 (lower effectiveness, less costly) |  | Beta (13, 9) |
| Managerial decision 1 | j | j = 1 | Base level of user training | EE | Beta (31.5, 6.7) |
|  |  | j = 2 | Increased level of user training |  | Beta (48, 4) |
| Managerial decision 2 | k | k = 1 | Focus on general Afib-patient population | AA | const. = 1 |
|  |  | k = 2 | Focus on population with small appendage size |  | const. = 0.8 |

Note. This table is also available online at http://www.journals.cambridge.org/jid_thc.

EE, electrode effectiveness; AA, appendage anatomy factor.

Supplemental Table 6. Summary of Costs, Performance Distribution, and Resulting Value of Three Technology Alternatives

| Technology index ijk | Description | Cost Cijk | Resulting distribution | Resulting expected value |
| --- | --- | --- | --- | --- |
| 111 | Base-case technology | C111 = 8.5 | ε ~ Beta (46, 38) | E(V) = 0.983 |
| 211 | Electrode effectiveness reduced (different electrode) | C211 = 6.2 | ε ~ Beta (41, 48.3) | E(V) = 5.550 |
| 121 | Electrode effectiveness increased (user training) | C121 =11.6 | ε ~ Beta (100, 71.5) | E(V) = 0.741 |

Note. This table is also available online at http://www.journals.cambridge.org/jid_thc.

Supplemental  Table 7. Sensitivity Analysis: Expected Value for Base Case Design with Skeptical, Base-Case, and Optimistic prior for TS

| Scenario | Distribution of TS | Expected stroke reduction (%) | Resulting expected value |
| --- | --- | --- | --- |
| TS reduced | Beta (5, 31.5) | 36.9 | E(V) = 8.492 |
| TS base-case (prior) | Beta (18.2, 41.9) | 54.8 | E(V) = - 0.983 |
| TS increased | Beta (40, 63) | 62.85 | E(V) = 10.094 |

Note. This table is also available online at http://www.journals.cambridge.org/jid_thc.

TS, tissue shrinkage.