Supplement 3. Compliance to anti-disaster laws and retrofitting requirements among hospitals with an earthquake hazard

|  |  | Compliance to new building code |  |  | Seismic isolation |  |  | Took assess-ment | Need retrofit* | Completed retrofit** |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Partial | All | Partial+ All | Partial | All | Partial+ All |  |  |  |
| Founder | National | 64% | 33% | 97% | 15% | 7% | 22% | 62% | 76% | 32% |
|  | Other Public | 35% | 56% | 91% | 8% | 11% | 19% | 37% | 82% | 28% |
|  | Private/Corporation | 36% | 53% | 89% | 9% | 13% | 22% | 30% | 66% | 23% |
| Category | DBH | 38% | 62% | 100% | 12% | 8% | 19% | 46% | 83% | 40% |
|  | Local DBH | 39% | 57% | 96% | 15% | 11% | 26% | 44% | 91% | 26% |
|  | Non-DBH | 37% | 52% | 89% | 8% | 12% | 21% | 31% | 67% | 24% |
| Total |  | 37% | 53% | 90% | 9% | 12% | 21% | 33% | 71% | 25% |

* percentage among hospitals that took assessment

** percentage among hospitals diagnosed as requiring retrofit